|  |  |  |
| --- | --- | --- |
| Local Education Agency | State Project No. | Phase |
| School | Architect | Date |

DAS - OFFICE OF SCHOOL CONSTRUCTION GRANTS & REVIEW (OSCG&R) PLAN REVIEW CHECKLIST

# STAND-ALONE

**FUEL STORAGE REPLACEMENT PROJECTS**

**FORM SCG-3018**

* Do not use Not Applicable (N/A). Use “None”, “NPS” (Not in Project Scope), or explain condition.
* Submit completed **Pre-Bid Conformance Review (PCR) Checklist** with this completed form.
* Status column (by SCG staff): 🗸 Accepted ⭘ Open Item

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | | | | Status |
|  | | Drawings | Specifications |
| 01. | Removal and disposal of: |  |  |  |
|  | a. Tank |  |  |  |
|  | b. Residual fluids |  |  |  |
|  | c. Cleaning fluids |  |  |  |
| 02. | Water pollution control: | | | |
|  | a. Erosion by surface water tank |  |  |  |
|  | b. Contamination of sub-surface water |  |  |  |
| 03. | Concrete pads for: |  |  |  |
|  | a. Ballast (show tie-downs) |  |  |  |
|  | b. Fuel fill pipe (if any) |  |  |  |
| 04. | Type of backfill, how installed, depth, etc. |  |  |  |
| 05. | Tank installation method per Connecticut State Fire Prevention Code |  |  |  |
| 06. | Specify tank: | | | |
|  | a. Material, opening, cathodic / corrosion protection (steel) |  |  |  |
|  | b. Piping-fill, vent, supply, return, leak detection, spill overflow prevention, etc. |  |  |  |
|  | c. Controls, valves and gauges |  |  |  |
|  | d. Plumbing and electrical connections |  |  |  |
| 07. | Final testing before covering installation |  |  |  |
| 08. | Re-seeding of disturbed lawn or planting areas |  |  |  |
| 09. | Re-paving of disturbed parking areas or walks, ramps, etc. |  |  |  |