STATE OF CONNECTICUT

DEPARTMENT OF ENVIRONMENTAL PROTECTION

Client #:

Sequence #:

Town #:

Premises #:

CADIS Tracking #:

Bureau of Air Management

Compliance Analysis & Coordination Unit

79 Elm Street

## Hartford, Connecticut 06106-5127

## Continuous Opacity Monitoring System Summary Report

| Part 1: FACILITY INFORMATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Corporation Name |  |  |  |  |
| Premises Name |  |  |  |  |
| Corporation Address |  |  |  |  |
| Premises Address |  |  |  |  |
| Premises Contact Person |  |  |  |  |
| Contact Phone/FAX/e-mail |  |  |  |  |
| Reporting Period Dates | From: |  | To: |  |
| Were there any monitoring system failures during this reporting period? (Yes/ No - provide details in report). |  |  | Attachments: - COMS data (CD or diskette); - COMS data (e-mailed); - Copy of quarterly QA audits; - Excepted activities records (if requested). |  |
| Are any excess emissions being reported during this reporting period? (Yes/No - provide details in report). |  |  |  |  |
| Part 2: CERTIFICATION |  |  |  |  |
| I have personally examined and am familiar with the information submitted in this document and all attachments thereto, and I certify that based on reasonable investigation, including my inquiry of those individuals responsible for obtaining the information, the submitted information is true, accurate and complete to the best of my knowledge and belief. I understand that a false statement in the submitted information may be punishable as a criminal offense, under section 22a-175 of the Connecticut General Statutes, under section 53a-157b of the Connecticut General Statutes, and in accordance with any other applicable statute. Today's Date: Signature: Print (or type) Name and Title: ________________________________________________________________ |  |  |  |  |

| PART 3: PERFORMANCE REPORT |  |  |  |
| --- | --- | --- | --- |
| Facility Name: |  |  |  |
| Combustion Unit(s) Descriptions |  |  |  |
| UNIT AND MONITOR INFORMATION |  |  |  |
| Unit Number or ID |  |  |  |
| Unit Operating Hours |  |  |  |
| Sampling Location |  |  |  |
| Manufacturer / Model No. |  | Serial No. |  |
| Date of Certification |  | Date of last QA audit |  |
| MONITOR DATA AVAILABILITY |  |  |  |
| Monitoring equipment malfunctions |  |  |  |
| Non-monitoring equipment malfunctions |  |  |  |
| Calibrations |  |  |  |
| Other known causes1 |  |  |  |
| Unknown causes |  |  |  |
| Total COM downtime |  |  |  |
| Data Availability (calculated) |  |  |  |

%  Data  Availabili ty =Unit  Operating  Time−Monitoring  Downtime Unit  Operating  Time∗100

where:

Unit operating time = total hours of source operation at any level during the calendar quarter; and

Monitoring downtime = total hours of source operation at any level during the calendar quarter where either no CEM equipment data was collected or the CEM equipment data was invalid.  Such periods include, but are not limited to, quality assurance activities such as calibration, preventative maintenance, and calibration drift exceedances or quality assurance audits that result in invalid data.  [R.C.S.A. 22a-174-4(c)(5)]

1 - other known causes includes all quality assurance activities other than calibrations (e.g., preventative maintenance, quarterly audits) and out-of-controls periods.

| PART 4: SECTION 4 COMS EMISSION SUMMARY REPORT |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Facility Name: |  |  |  |  |  |  |
| UNIT INFORMATION |  |  |  |  |  |  |
| Unit Number or ID |  |  |  | Unit Operating Hours (a) |  |  |
| QUESTION 1 Did the period of exception from the visible emissions standards of 22a-174-18(b)(2) exceed 0.5% of the total operating hours during the calendar quarter? |  |  | - Yes - No |  |  |  |
| QUESTION 2 Were there any visible emissions in excess of 60% opacity (six-minute block average) during the calendar quarter? |  |  | - Yes - No |  |  |  |
| QUESTION 3 Were there any periods of visible emissions in excess of the visible emission standards of 22a-174-18(b)(2) not listed in the excepted activities in 22a-174-18(j)? |  |  | - Yes - No |  |  |  |
| OPACITY EXCESS EMISSIONS SUMMARY |  |  |  |  |  |  |
| Emission Limit / Averaging Period |  | (1) 20% / six-minute average |  |  | (2) 40% / one-minute average |  |
| Startup / Shutdown |  |  |  |  |  |  |
| Malfunction: Control Equipment |  |  |  |  |  |  |
| Malfunction: Operational / Process |  |  |  |  |  |  |
| Commissioner-approved stack testing |  |  |  |  |  |  |
| Intentional soot blowing |  |  |  |  |  |  |
| Fuel Switching |  |  |  |  |  |  |
| Sudden load change |  |  |  |  |  |  |
| Other known causes |  |  |  |  |  |  |
| Unknown causes |  |  |  |  |  |  |
| Total duration of excess emissions |  |  |  |  |  |  |

| Total unit operating minutes during the operating period. (a) | Total duration of excess emissions in minutes for both limits combined. (b) = ∑(1) + ∑(2) | Total number of overlapped minutes for both limits. (c) | Adjusted total of excess emissions in minutes for both limits combined. (d) = (b) - (c) | Total duration of excess emissions as a percentage of operating time. (e) = (100*d)/(a) |
| --- | --- | --- | --- | --- |

| Part 5: Monitoring and Non-Monitoring Equipment Malfunction Details |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EMU# or Unit ID | Permit Cond. ID | Monitoring System Failure Period |  |  |  | Description and Cause of Monitoring System Failure | Corrective Actions Taken to Remedy Monitoring System Failure | Measures Taken to Prevent Future Monitoring System Failures |
|  |  | Start |  | End |  |  |  |  |
|  |  | Date | Time | Date | Time |  |  |  |

| Part 6: List of Excess Emissions |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EMU# or Unit ID | Permit Cond. ID | Deviation Period |  |  |  | Description, Cause or Likely Cause of Deviation | Measured Value of Deviation | Description and Date(s) of Actions Taken to Correct Deviation | Description and Date(s) of Measures Taken to Prevent Future Deviations |
|  |  | Start |  | End |  |  |  |  |  |
|  |  | Date | Time | Date | Time |  |  |  |  |