General Permit Registration Form for the Discharge of Wastewaters from Categorical Industrial Users to a Publicly Owned Treatment Works (POTW)

CPPU USE ONLY

App #:________________________________

Doc #:________________________________

Check #:______________________________

______________________________________

Program:  Industrial General Permits

Please complete this form in accordance with the instructions (DEEP-WPED-INST-008) to ensure the proper handling of your registration.  Print or type unless otherwise noted.  You must submit the registration fee along with this form.

## Part I:  Registration Type

Check the appropriate box identifying the registration type.

| This registration is for a (check all that apply): New general permit registration and Replacement of an individual permit or an authorization Renewal of an existing registration new ownership A modification of an existing registration | For renewals or modifications: 1. Existing permit or authorization number: 2. Expiration Date: |
| --- | --- |
| Town Location: Brief Description of Project: |  |

## Part II:  Fee Information

## Check the applicable box below identifying your discharge flow to determine your registration fee.

| For discharges greater than 10,000 gallons per day | $6,250.00 [#1848] |
| --- | --- |
| For discharges less than 10,000 gallons per day | $3,125.00 [#1847] |
| The applicable registration fee checked above is to be submitted with each registration that you are submitting. Each site registering under the Categorical Industrial Users General Permit requires a separate registration. The fee for municipalities is 50% of the above listed rate. The registration will not be processed without the fee. The fee shall be non-refundable and shall be paid by check or money order to the Department of Energy and Environmental Protection. |  |

## Part III:  Registrant Information

- If a registrant is a corporation, limited liability company, limited partnership, limited liability partnership, or a statutory trust, it must be registered with the Secretary of State. If applicable, registrant’s name shall be stated exactly as it is registered with the Secretary of State. Please note, for those entities registered with the Secretary of State, the registered name will be the name used by DEEP. This information can be accessed at the Secretary of State's database (CONCORD). (www.concord-sots.ct.gov/CONCORD/index.jsp)

- If a registrant is an individual, provide the legal name (include suffix) in the following format: First Name; Middle Initial; Last Name; Suffix (Jr, Sr., II, III, etc.).

- If there are any changes or corrections to your company/facility or individual mailing or billing address or contact information, please complete and submit the Request to Change Company/Individual Information to the address indicated on the form. If there is a change in name of the entity holding a DEEP license or a change in ownership, contact the Office of Planning and Program Development (OPPD) at 860-424-3003. For any other changes you must contact the specific program from which you hold a current DEEP license.

1. Registrant Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. *E-mail: *By providing this e-mail address you are agreeing to receive official correspondence from the Department, at this electronic address, concerning the subject registration. Please remember to check your security settings to be sure you can receive e-mails from “ct.gov” addresses. Also, please notify the Department if your e-mail address changes. a) Registrant Type (check one): individual federal agency state agency municipality tribal *business entity (*If a business entity complete i through iii): i) check type: corporation limited liability company limited partnership limited liability partnership statutory trust Other: ii) provide Secretary of the State business ID #: This information can be accessed at the Secretary of State's database (CONCORD). (www.concord-sots.ct.gov/CONCORD/index.jsp) iii) Check here if your business is NOT registered with the Secretary of State’s office. Check here if any co-registrants. If so, attach additional sheet(s) with the required information as requested above. b) Registrant's interest in property at which the proposed activity is to be located: site owner option holder lessee easement holder operator other (specify):

- Billing contact, if different than the registrant. Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. E-mail:

## Part III:  Registrant Information (continued)

- Primary contact for Departmental correspondence and inquiries, if different than the registrant. Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. *E-mail: *By providing this e-mail address you are agreeing to receive official correspondence from the Department, at this electronic address, concerning the subject registration. Please remember to check your security settings to be sure you can receive e-mails from “ct.gov” addresses. Also, please notify the Department if your e-mail address changes. 4. Facility Operator, if different than the registrant: Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. E-mail: 5. Equipment Operator, if different than the registrant: Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. E-mail: 6. Facility Owner, if different than the registrant: Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. E-mail:

## Part III:  Registrant Information (continued)

7. Equipment Owner, if different than the registrant: Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. E-mail: 8. Engineer(s) or other consultant(s) employed or retained to assist in preparing the registration or in designing or constructing the activity. Name: Mailing Address: City/Town: State: Zip Code: Business Phone: ext.: Contact Person: Phone: ext. E-mail: Service Provided: Check here if additional sheets are necessary, and label and attach them to this sheet. 9. List all metal finishing subcategories as defined by 40 CFR 413 and 433 which contribute to the discharge.

10. List the Primary Standard Industrial Classification (SIC) Number of the operations carried out by the facility:

## Part IV:  Site Information

1. SITE NAME AND LOCATION Is the name of the site the same as the name of the applicant? Yes No Name of Site : Street Address or Location Description:

City/Town: State: Zip Code: Tax Assessor's Reference: Map Block Lot 2. INDIAN LANDS: Is or will the facility be located on federally recognized Indian lands? Yes No 3. COASTAL BOUNDARY: Is the activity which is the subject of this registration located within the coastal boundary as delineated on DEEP approved coastal boundary maps? Yes No If yes, and this registration is for a new authorization or a modification of an existing authorization where the physical footprint of the subject activity is modified, you must submit a Coastal Consistency Review Form (DEP-APP-004) with your application as Attachment A. Information on the coastal boundary is available at www.lisrc.uconn.edu. (Click on the upper tab or left hand column labeled “Maps”, then “Coastal Connecticut”) or the local town hall or on the “Coastal Boundary Map” available at DEEP Maps and Publications (860-424-3555). If no, is the activity which is the subject of this registration located within the coastal area? (see town list in the instructions) Yes No 4. ENDANGERED OR THREATENED SPECIES: According to the most current "State and Federal Listed Species and Natural Communities Map", is the project site located within an area identified as a habitat for endangered, threatened or special concern species? Yes No Date of Map: If yes, complete and submit a Request for NDDB State Listed Species Review Form (DEP-APP-007) to the address specified on the form. Please note NDDB review generally takes 4 to 6 weeks and may require additional documentation from the registrant. A copy of the completed Request for NDDB State Listed Species Review Form and the CT NDDB response must be submitted with this completed registration as Attachment B. For more information visit the DEEP website at www.ct.gov/deep/nddbrequest or call the NDDB at 860-424-3011. 5. AQUIFER PROTECTION AREAS: Is the site located within a town required to establish Aquifer Protection Areas, as defined in section 22a-354a through 354bb of the General Statutes (CGS)? Yes No To view the applicable list of towns and maps visit the DEEP website at www.ct.gov/deep/aquiferprotection If yes, is the site within an area identified on a Level A map? Yes No If yes, is the site within an area identified on a Level B map? Yes No If your site is on a Level A map, check the DEEP website, Business and Industry Information (www.ct.gov/deep/aquiferprotection) to determine if your activity is required to be registered under the Aquifer Protection Area Program. If your site is on a Level B map, no action is required at this time, however you may be required to register under the Aquifer Protection Area Program in the future when the area is delineated as Level A.

## Part IV:  Site Information (continued)

6. CONSERVATION OR PRESERVATION RESTRICTION: Is the property subject to a conservation or preservation restriction? Yes No If Yes, proof of written notice of this registration to the holder of such restriction or a letter from the holder of such restriction verifying that this registration is in compliance with the terms of the restriction, must be submitted as Attachment C.

Part V: Additional Information and Supporting Documents

Check the applicable box below for each attachment being submitted with this registration form. When submitting any supporting documents, please label the documents as indicated in this part (e.g., Attachment A, etc.) and be sure to include the registrant's name as indicated on this registration form.

Attachment A: Coastal Consistency Review Form (DEP-APP-004) if applicable. Attachment B: Copy of the completed Request for NDDB State Listed Species Review Form (DEP-APP-007) and the NDDB response, if applicable. Attachment C: Conservation or Preservation Restriction Information: if applicable Attachment D: Approval for Connection/Transport to a POTW Attachment E: Site Plan: A site plan consisting of a legible drawing of the site. The site plan must indicate the relative locations of the below features: All of the following must be checked: North meridian Boundaries of the site All buildings Water bodies adjacent to the site and their names Roads adjacent to the site and their names Location of discharges included in this application All monitoring points. Attachment F: Discharge Information Form: For each discharge/monitoring location. Attachment G: Water Conservation: A description of the best management practices, such as conservation and reuse of water, minimization, substitution and reuse of chemicals, and other pollution prevention measures, implemented or to be implemented by the registrant to prevent or minimize any adverse environmental effects of the subject discharge. Attachment H: Wastewater Treatment: A general description of any wastewater treatment processes, such as neutralization, oil/water separation, and precipitation of solids or metals, which the registrant utilizes or will utilize to achieve compliance with any of the effluent limitations specified in this general permit. This description must include a diagram which clearly shows all treatment units, monitoring equipment and sampling locations.

Part V: Additional Information and Supporting Documents (continued)

Attachment I: Line Diagram: A line diagram of the water flow through the facility which clearly shows: All of the following must be checked: the intake source (e.g. well, city water, river); all points of chemical addition into any treatment units; sampling and flow meter locations; all separate production operations with intake and discharge points of each operation; treatment units with intake and discharge points of each unit; and a water balance that indicates approximate average and maximum flows at intake and discharge points of all separate production operations, treatment units and between processes. Attachment J: Process Flow Diagram: A diagram showing those processes generating wastewater must be included. The process flow diagram should identify: All of the following must be checked: each process step or tank, its work flow position, size, contents, ultimate disposal location and the discharge rate of its contents; any treatment units integrated with a process; and countercurrent rinsing and the direction of the countercurrent rinsing. Attachment K: Monitoring Wavier Request Form Attachment L: Plan Checklists: Operation and Maintenance Plan and Spill Control and Prevention Plan. Attachment M: Solvent Management Plan: Check only one: No Total Toxic Organic compounds are used or generated on site, or introduced into the wastewaters that are the subject of this application. A Solvent Management Plan has been submitted with this registration that contains all applicable information listed in the Solvent Management Plan Checklist and Appendix IV of the Categorical General Permit. Attachment N: Subscriber Agreement (www.ct.gov/deep/netdmr)

Part VI: Qualified Professional Engineer Certification

The following certification must be signed by a Qualified Professional Engineer as defined in the Categorical General Permit.  A registration will be considered incomplete without this certification.

| "I hereby certify that I am a qualified professional engineer as defined in the General Permit for the Discharge of Wastewaters from Categorical Industrial Users to a Publicly Owned Treatment Works (POTW) and as further specified in Section 3(b)(8) of such general permit. I am making this certification in connection with a registration under such general permit, submitted to the commissioner by Insert Name of Registrant for an activity located at Insert Site Activity Address. I have personally examined and am familiar with the information that provides the basis for this certification, including, but not limited to, all information described in Section 3(b)(8)(C) of such general permit and I certify, based on reasonable investigation, including my inquiry of those individuals responsible for obtaining such information, that the information upon which this certification is based is true, accurate and complete to the best of my knowledge and belief. I further certify that I have made the affirmative determination required in accordance with Section 3(b)(8)(D) of this general permit and that my signing this certification constitutes conclusive evidence of my having made such affirmative determination. I understand that this certification may be subject to an audit by the commissioner in accordance with Section 22a-430b of the Connecticut General Statutes, and I agree to cooperate with the commissioner should such an audit be required, including, but not limited to providing information as may be requested in writing by the commissioner in connection with any such audit. I also understand that knowingly making any false statement in this certification may be punishable as a criminal offense, including the possibility of fine and imprisonment, under Section 53a-157b of the Connecticut General Statutes and any other applicable law." |  |
| --- | --- |
| Signature of Qualified Professional Engineer | Date |
| Printed Name of Qualified Professional Engineer | P.E. Number (if applicable) Affix P.E. Stamp Here (if applicable) |

Part VII: Registrant Certification

The registrant must sign this part.  A registration will be considered incomplete without this certification.

| "I hereby certify that I am making this certification in connection with a registration under such general permit, submitted to the commissioner by Insert Name of Registrant for an activity located at Insert Site Activity Address and that such activity is eligible for authorization under such permit. I certify that the registration filed pursuant to this general permit is on complete and accurate forms as prescribed by the commissioner without alteration of their text. I certify that I have personally examined and am familiar with the information that provides the basis for this certification, including but not limited to all information described in Section 3(b)(9)(A) of such general permit, and I certify, based on reasonable investigation, including my inquiry of those individuals responsible for obtaining such information, that the information upon which this certification is based is true, accurate and complete to the best of my knowledge and belief. I further certify that I have made the affirmative determination required in accordance with Section 3(b)(9)(B) of this general permit and that my signing this certification constitutes conclusive evidence of my having made such affirmative determination. I certify that written approval from the POTW Authority with jurisdiction over the receiving POTW has been granted on a form provided by the commissioner. I certify that our facility does not use products or chemicals that may result in a discharge of mercury. I understand that the registration filed in connection with such general permit may be denied, revoked or suspended for engaging in professional misconduct, including but not limited to the submission of false or misleading information, or making a false or inaccurate certification. I understand that the certification made pursuant to Section 3(b)(8) of this general permit may be subject to an audit by the commissioner in accordance with section 22a-430b of the Connecticut General Statutes, and that I will be required to provide additional information as may be requested in writing by the commissioner in connection with such audit, and the registration filed in connection with such general permit may be denied, revoked or suspended as a result of such audit. As part of such audit, I understand the commissioner may require that any information prepared in accordance with this general permit to be independently certified by a qualified professional engineer in accordance with this general permit and that such independent certification shall be at the registrant's expense. I understand that the reasonable cost of any such audit that reveals that a false certification was submitted to the commissioner may be charged to the registrant for this general permit for which such certification was made. I also understand that knowingly making any false statement in the submitted information and in this certification may be punishable as a criminal offense, including the possibility of fine and imprisonment, under section 53a-157b of the Connecticut General Statutes and any other applicable law." |  |  |  |
| --- | --- | --- | --- |
| Signature of Registrant |  | Date |  |
| Name of Registrant (print or type) |  | Title (if applicable) |  |

Part VIII: Preparer Certification

The individual(s) responsible for actually preparing the registration must sign this part. A registration will be considered incomplete unless all required signatures are provided.  If the registrant is the preparer, please mark N/A in the spaces provided for the preparer.

| "I hereby certify that I am making this certification in connection with a registration under such general permit, submitted to the commissioner by Insert Name of Registrant for an activity located at Insert Site Activity Address and that such activity is eligible for authorization under such permit. I certify that the registration filed pursuant to this general permit is on complete and accurate forms as prescribed by the commissioner without alteration of their text. I certify that I have personally examined and am familiar with the information that provides the basis for this certification, including but not limited to all information described in Section 3(b)(9)(A) of such general permit, and I certify, based on reasonable investigation, including my inquiry of those individuals responsible for obtaining such information, that the information upon which this certification is based is true, accurate and complete to the best of my knowledge and belief. I understand that the registration filed in connection with such general permit may be denied, revoked or suspended for engaging in professional misconduct, including but not limited to the submission of false or misleading information, or making a false or inaccurate certification. I understand that knowingly making any false statement in the submitted information and in this certification may be punishable as a criminal offense, including the possibility of fine and imprisonment, under section 53a-157b of the Connecticut General Statutes and any other applicable law." |  |  |
| --- | --- | --- |
| Signature of Preparer (if different than above) |  | Date |
| Name of Preparer (print or type) |  | Title (if applicable) |
| Check here if additional signatures are required. If so, please reproduce this sheet and attach signed copies to this sheet. You must include signatures of any person preparing any report or parts thereof required in this registration (i.e., professional engineers, surveyors, soil scientists, consultants, etc.) |  |  |

Note:	Please submit the completed Registration Form, Fee, and all Supporting Documents to:

CENTRAL PERMIT PROCESSING UNIT

DEPARTMENT OF ENERGY AND ENVIRONMENTAL PROTECTION

79 ELM STREET

HARTFORD, CT 06106-5127

Attachment D: Approval for Connection/Transport to a POTW

Part 1:	The registrant must complete and sign Part 1.

Part 2	The form must then be submitted to the Publicly Owned Treatment Works (POTW, or sewage treatment plant) receiving the discharge for approval. Part 2 must be completed and signed by a responsible official of the POTW.

Part 3	Where a local sewer commission acts independently of the POTW (i.e. facilities that receive sewage from more than one town), the registrant must also have the local sewer commission approve the discharge. In this case, Part 3 must be completed and signed by a responsible official of the local sewer commission.

| Part 1: The facility listed in this Part is seeking Authority from the Department of Energy and Environmental Protection to discharge wastewater to the sanitary sewer, or for such discharge to be transported to the POTW. Facility Name: Site Address: City/Town: |  |
| --- | --- |
| Facility is requesting approval to (check one): Connect to the Sanitary Sewer Truck Transport to the POTW Discharge volume will not exceed gallons per day. Type of Discharge: |  |
| Signature of Registrant | Date |
| Part 2: To be completed by POTW (sewage treatment plant) receiving discharge whether by sewer line or truck transport: Name of Receiving POTW: Address of POTW: City/Town: Adequate hydraulic capacity to receive the discharge |  |
| Approved by: |  |
| Signature | Date: |
| Name (please print) | Title |
| Part 3: To be completed by Local Sewer Commission (if separate from POTW) when seeking approval for connection to the sanitary sewer: Local Sewer Commission: Address: City/Town: Adequate hydraulic capacity to receive the discharge |  |
| Approved by: |  |
| Signature | Date: |
| Name (please print) | Title |
| Comments: |  |

Attachment F: Discharge Information

The below information must be provided for each discharge included in the application.  Attach additional sheets as necessary.  See instructions for further guidance.

Discharge Serial Number:

Date discharge was/will be initiated:

Discharge Location

Name of Receiving POTW:

Sanitary Sewer	  Hauled

Discharge Description

Average Daily Flow (gpd):      	  Maximum Daily Flow (gpd):

Design Flow (gpd):      	  Design Flow (gpm):

Is the wastewater discharging continuously throughout operating hours except for infrequent shut downs for maintenance, process changes or other similar activities?	  Yes	  No

If yes, indicate:

- Average number of hours per day of the discharge:

- Maximum number of hours per day of the discharge:

If no (e.g., batch, intermittent, or seasonal discharges), indicate:

- Average number of hours per event of the discharge:

- Maximum number of hours per event of the discharge:

- The number of discharge events per day:

Wastewater Treatment System

Provide a brief description of any wastewater treatment, monitoring, and alarm equipment associated with the discharge:

Discharge Analysis

All Registrants must complete a Discharge Analysis for each discharge using analytical data from at least one sample representative of typical daily operations and one sample representative of anticipated maximum effluent pollutant concentration(s).  Analytical data from both samples shall be provided for all pollutants listed in Table 1, as well as, all pollutants listed in Tables 2 through 10 that are known or suspected to be present in the discharge.  All analyses must be performed in accordance with 40 CFR 136.

| Discharge Serial Number: Date Sampled: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TABLE 1 |  |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average | 4 Maximum |  |  |  |  |  | 5 Number of Analyses |
| 1 |  | Aluminum, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | Ammonia (as Nitrogen) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | Antimony, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Barium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Biochemical Oxygen Demand (5 Day) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Cadmium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | Chemical Oxygen Demand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | Chromium, Hexavalent2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | Chromium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Cobalt, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | Copper, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Cyanide, Amenable2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | Cyanide, Total2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  | Fluoride |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  | Gold, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  | Iron, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  | Lead, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  | Mercury, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  | Nickel, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  | Nitrogen ,Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | Oil and Grease, Hydrocarbon Fraction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  | Oil and Grease, Total2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  | Organic ,Total Toxic1, 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | Phosphorus, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  | Silver, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  | Solids, Total Suspended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  | Tin, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  | Titanium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  | Total Kjeldahl Nitrogen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  | Zinc, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  | pH (minimum and maximum)2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 As defined by 40 CFR 413 and 433. 2 This pollutant shall be monitored using a grab sample average taken prior to combination with any dissimilar discharges. 3 This pollutant shall be monitored using a grab sample taken prior to combination with any dissimilar discharges. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 2 GENERAL |  |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average | 4 Maximum |  |  |  |  |  | 5 Number of Analyses |
| 1 | Nitrate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Nitrite |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Total Kjeldahl Nitrogen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Total Residual Chlorine1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 This pollutant shall be monitored using a grab sample taken prior to combination with any dissimilar discharges. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 3 TOXIC METALS, CYANIDES, PHENOLS |  |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |
| 1 | Arsenic, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Beryllium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Selenium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Thallium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Phenols, Total1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 This pollutant shall be monitored using a grab sample taken prior to combination with any dissimilar discharges. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 4 VOLATILES1 |  |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |
| 1 |  | Acrolein |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | Acrylonitrile |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | Benzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Bromoform |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Carbon Tetrachloride |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Chlorobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | Chlorodibromomethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | Chloroethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | 2-Chloroethylvinyl Ether |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Chloroform |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | Dichlorobromomethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | 1, 1-Dichloroethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | 1, 2-Dichloroethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  | 1, 1-Dichloroethylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  | 1, 2-Dichloropropane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  | 1, 3-Dichloropropylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  | Ethylbenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  | Methylbromide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  | Methylchloride |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  | Methylene Chloride |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | 1, 1, 2, 2,-Tetrachloroethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  | Tetrachloroethylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  | Toluene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | 1, 2-Trans-Dichloroethylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  | 1, 1, 1-Trichloroethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  | 1, 1, 2- Trichloroethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  | Trichloroethylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  | Vinyl Chloride |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 These pollutants shall be monitored using grab samples taken prior to combination with any dissimilar discharges. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 5 GC/MS FRACTION ACID COMPOUNDS1 |  |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |
| 1 |  | 2-Chlorophenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 2, 4-Dichlorophenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | 2, 4-Dimethylphenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | 4, 6-Dinitro-O-Cresol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 2, 4-Dinitrophenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | 2-Nitrophenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | 4-Nitrophenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | P-Chloro-M-Cresol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | Pentachlorophenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Phenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | 2, 4, 6- Trichlorophenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 These pollutants shall be monitored using grab samples taken prior to combination with any dissimilar discharges . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 6 BASE NEUTRAL COMPOUNDS1 |  |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |
| 1 |  | Acenaphthene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | Acenaphthylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | Anthracene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Benzidine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Benzo(a)anthracene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Benzo(a)pyrene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | 3, 4-Benzo-fluoranthene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | Benzo(ghi)perylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | Benzo(k) fluoranthene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Bis(2-Chloroethoxy) Methane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | Bis(2-Chloroethyl) Ether |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Bis(2-Chloroisopropyl) Ether |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | Bis(2-Ethylhexyl) Phthalate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  | 4-Bromophenylphenyl Ether |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  | Butylbenzyl Phthalate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  | 2-Chloronaphthalene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  | 4-Cholorophenylphenyl Ether |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  | Chrysene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  | Dibenzo(a, H)anthracene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  | 1, 2-Dichlorobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | 1, 3-Dichlorobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  | 1, 4-Dichlorobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  | 3, 3-Dichlorobenzidine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | Diethyl phthalate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  | Dimethyl phthalate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  | Di-n-butyl phthalate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  | 2, 4-Dinitrotoluene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  | 2, 6-Dinitrotoluene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  | Di-n-octyl phthalate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  | 1, 2-Diphenylhydrazine (as Azobenzene) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  | Fluoranthene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 |  | Fluorene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 |  | Hexachlorobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 |  | Hexachlorobutadiene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 |  | Hexachlorocyclopentadiene Hexachlorocyclopentadiene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 |  | Hexachloroethane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 |  | Indeno(1,2,3-cd) Pyrene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 38 |  | Isophorone |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 39 |  | Naphthalene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  | Nitrobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 41 |  | N-nitroso dimethylamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 42 |  | N-Nitrosodi-n-Propylamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 43 |  | N-Nitrosodiphenylamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 44 |  | Phenanthrene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 45 |  | Pyrene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 46 |  | 1, 24-Trichlorobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 These pollutants shall be monitored using grab samples taken prior to combination with any dissimilar discharges . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 7 PESTICIDES1 |  |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |
| 1 |  | Aldrin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | Alpha - BHC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | Beta - BHC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Gamma-BHC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Delta-BHC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Chlordane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | 4, 4-DDT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | 4, 4-DDE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | 4, 4-DDD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Dieldrin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | Alpha-Endosulfan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Beta-Endosulfan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | Endosulfan Sulfate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  | Endrin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  | Endrin Aldehyde |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  | Heptachlor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  | Heptachlor Epoxide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  | PCB-1242 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  | PCB-1254 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  | PCB-1221 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | PCB-1232 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  | PCB-1248 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  | PCB-1260 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | PCB-1016 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  | Toxaphene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 These pollutants shall be monitored using grab samples taken prior to combination with any dissimilar discharges . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 8 OTHER SUBSTANCES1 |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |  |
| 1 |  | Bromide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | Color |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | Fecal Coliform1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Nitrogen, Total Organic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Radioactivity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | a. Alpha, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | b. Beta, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | c. Radium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | d. Radium, 226 Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Sulfate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | Sulfide* |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | Sulfite |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | Surfactants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Boron, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | Magnesium, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Molybdenum, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | Manganese, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 These pollutants shall be monitored using grab samples taken prior to combination with any dissimilar discharges. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 9 OTHER TOXIC AND HAZARDOUS SUBSTANCES1 |  |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |  |
| 1 |  | Asbestos |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | Acetaldehyde |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | Allyl alcohol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Allyl chloride |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Amyl acetate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Aniline |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | Benzonitrile |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | Benzyl chloride |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | Butyl acetate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Butylamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | Captan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Carbaryl |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | Carbofuran |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  | Carbon disulfide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  | Chlorpyrifos |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  | Coumaphos |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  | Cresol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  | Crotonaldehyde |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  | Cyclohexane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  | 2,4-Dichlorophenoxy (acetic acid) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | Diazinon |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  | Dicamba |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  | Dichlobenil |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | Dichlone |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  | 2,2-Dichloro-propionic acid |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  | Dichlorvos |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  | Diethyl amine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  | Dimethyl amine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  | Dinitrobenzene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  | Diquat |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  | Disulfoton |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 |  | Diuron |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 |  | Epichlorohydrin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 |  | Ethanolamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 |  | Ethion |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 |  | Ethylene diamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 |  | Ethylene dibromide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 38 |  | Formaldehyde |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 39 |  | Furfural |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  | Guthion |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 41 |  | Isoprene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 42 |  | Isopropanolamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 43 |  | Kelthane |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 44 |  | Kepone |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 45 |  | Malathion |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 46 |  | Mercaptodimethur |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 47 |  | Methoxychlor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 48 |  | Methyl mercaptan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 49 |  | Methyl methacrylate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50 |  | Methyl parathion |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 51 |  | Mevinphos |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 52 |  | Mexacarbate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 53 |  | Monoethyl amine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 54 |  | Monomethyl amine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 55 |  | Naled |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 56 |  | Napthenic acid |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 57 |  | Nitrotoluene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 58 |  | Parathion |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 59 |  | Phenolsulfanate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 60 |  | Phosgene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 61 |  | Propargite |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 62 |  | Propylene oxide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 63 |  | Pyrethrins |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 64 |  | Quinoline |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 65 |  | Resorcinol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 66 |  | Strontium |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 67 |  | Strychnine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 68 |  | Styrene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 69 |  | 2, 4, 5-T (2, 4, 5-Trichlorophenoxy acetic acid) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 70 |  | TDE (Tetrachloro-diphenylethane) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 71 |  | 2, 4, 5-TP[2-(2, 4,5-Trichlorophenoxy) propanoic acid] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 72 |  | Trichlorofan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 73 |  | Triethylamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 74 |  | Trimethylamine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 75 |  | Uranium |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 76 |  | Vanadium |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 77 |  | Vinyl acetate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 78 |  | Xylene |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 79 |  | Xylenol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 80 |  | Zirconium |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 These pollutants shall be monitored using grab samples taken prior to combination with any dissimilar discharges. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE 10 SUBSTANCES1 |  |  | 1 Known or Suspected Present |  |  | 2 Believed Absent |  |  | 3 Average |  |  |  | 4 Maximum |  |  | 5 Number of Analyses |  |  |
| 1 |  | 2-(2, 4 ,5-trichlorophenoxy) ethyl, 2, 2-dichloropropionate (Erbon) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 0, 0-dimethyl-0-(2, 4, 5- trichlorophenyl) phosphorothioate (Ronnel) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  | 2, 4, 5-trichlorophenol (TCP) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | hexachlorophene (HCP) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 2,3,7,8-TCDD (Tetrachlorodibenzo-p-dioxin) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Total - TCDD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  | 2,3,7,8-TCDF (Tetrachlorodibenzofuran)2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  | Total - TCDF2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  | 1,2,3,7,8-PeCDD (Pentachlorodibenzo-p-dioxin) 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  | Total - PeCDD2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  | 1,2,3,7,8-PeCDF (Pentachlorodibenzofuran) 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  | 2,3,4,7,8-PeCDF2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  | Total - PeCDF2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  | 1,2,3,4,7,8-HxCDD (Hexachlorodibenzo-p-dioxin) 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  | 1,2,3,6,7,8-HxCDD2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  | 1,2,3,7,8,9-HxCDD2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  | Total - HxCDD2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  | 1,2,3,6,7,8-HxCDF (Hexachlorodibenzofuran) 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  | 1,2,3,7,8,9-HxCDF2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  | Total - HxCDF2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  | 1,2,3,4,6,7,8-HpCDF (Heptachlorodibenzofuran) 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  | 1,2,3,4,7,8,9-HpCDF2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  | Total - HpCDF2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  | OCDD (Optachlorodibenzo-p-dioxin) 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  | OCDF (Hexachlorodibenzofuran) 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 These pollutants shall be monitored using grab samples taken prior to combination with any dissimilar discharges. 2 If your facility uses or manufactures one of the substances listed above as items 1-6 or knows or has reason to believe or can reasonably ascertain that one of those substances may be present in the discharge, or you know or have reason to believe or can reasonably ascertain that 2,3,7,8 - Tetrachlorodibenzo-p-dioxin (TCDD) may be present in the discharge, then you must also provide the analysis results for the dioxin and furan substances numbered 7 through 27, using "EPA Method 1613: Tetra- through Octa- Chlorinated Dioxins and Furans by Isotope Dilution HRGC/HRMS". |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Contract Laboratories

If any of the analyses reported in this application were performed by a contract laboratory or consulting firm, list the name, address and telephone number of the laboratory or firm and the type of analyses performed.

| Name | Address | Telephone (Area Code & No.) | Substances Analyzed (List) |
| --- | --- | --- | --- |

Attachment K: Monitoring Wavier Request Form

A request for a Monitoring Waiver for Pollutants shall be submitted when a registrant proposes to forego monitoring of pollutants in accordance with Section 5(b)(1) of the General Permit for the Discharge of Categorical Industrial Users to a POTW.

| - List each pollutant you are requesting a monitoring waiver for. - Provide analytical data for each pollutant from at least one sample of the facility’s authorized discharge(s), after treatment. This sample shall be representative of all wastewaters capable of being discharged from the facility through the respective authorized discharge location(s) and shall be obtained and analyzed consistent with 40 CFR 136. - Provide analytical data for each pollutant from at least one sample of the facility’s authorized discharge(s), prior to any treatment. This sample shall be representative of all wastewaters capable of being discharged from the facility through the respective authorized discharge location(s) and shall be obtained and analyzed consistent with 40 CFR 136. - For those parameters detected in either the treated or untreated wastewater, provide analytical data for the source water or intake. |  |  |  |
| --- | --- | --- | --- |
| Parameter | Analytical Results |  |  |
|  | Incoming Water | Discharge prior to Treatment | Discharge Following Treatment |
| Non-detectable sample results may only be used as a demonstration that a pollutant is not present, if the EPA approved method from 40 CFR 136 with the lowest minimum detection level for that pollutant is utilized. A monitoring waiver will not be granted for any pollutant that is added to the authorized discharge, in any quantities. Where monitoring and/or other data shows that the pollutant is present at levels above the background intake water level, the commissioner shall deny the request for the monitoring waiver. |  |  |  |
| “I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.” |  |  |  |
| Registrant Signature Date |  |  |  |
| Name of Registrant (print or type) Title (if applicable) |  |  |  |

Attachment L: Plan Checklist

Operation and Maintenance Plan Checklist

| All registrants must complete and submit this Operation and Maintenance Plan Checklist. Review the following plan elements to ensure that each element is included and adequately addressed in your Operation and Maintenance Plan. A copy of this plan, containing all of the elements described in Appendix II of the subject General Permit shall be maintained on-site at all times. Verify that the plan is adequate with respect to each element by inserting your initials in the space provided and indicate the page number were each element is addressed in your plan. For elements which are determined to be not applicable to the collection and treatment systems, please indicate "N/A" next to the element and provide a brief explanation. |  |  |
| --- | --- | --- |
| Plan Elements | Initial/Not Applicable | Page # |
| 1. A detailed description of all wastewater treatment equipment on site including: a. A description of treatment unit sizes, their operating capacities, retention times, manufacturers and models. |  |  |
| b. A functional description of each treatment system and subsystem including a discussion of how each item functions and variables that might affect performance. |  |  |
| 2. A detailed description of collection procedures and treatment system operation, start-up, shut-down and power outage procedures, including the positions of all switches, valves, instrument settings and precautions. For batch systems, include operating instructions describing testing procedures to be performed for each batch, when different treatments are to be used and instructions for operating the different types of treatments. |  |  |
| 3. A detailed description of the method and frequency that all meters and probes are calibrated and tested, which at a minimum meets manufacturer’s recommendations. For final discharge meters and probes, the minimum frequency of cleaning and calibration must be the manufacturer’s recommendation. |  |  |
| 4. A detailed description of all of the alarm(s) in the system and a schedule for testing each one. |  |  |
| 5. An inventory of all spare parts and equipment kept at the facility for the wastewater treatment system. |  |  |
| 6. A list of all treatment chemicals, quantities stored at the facility and dosage rates. |  |  |
| 7. A maintenance plan for the proper operation of the collection and treatment system, both preventive and corrective, with proposed daily, weekly, monthly, semi-annual and annual inspections and procedures. |  |  |
| 8. The number of full or part time waste water treatment system operators needed to properly run the system and a detailed description of any training the operators have had in the proper operation of the treatment system. |  |  |

Attachment L: Plan Checklist (continued)

Operation and Maintenance Plan Checklist

| 9. A description of the log(s) to be kept near the treatment system or readily accessible, for operational monitoring and inspections. All entries must show time, date and be initialed. These log books must contain the following information, as applicable: a. for all discharges: i. the total daily flow for each day of discharge, consisting of the flow chart for each day of discharge and/or the flow data report from an electronic data recorder (if respective equipment is required in accordance with this general permit); |  |  |
| --- | --- | --- |
| ii. the maximum daily flow for each month of the year; |  |  |
| iii. the final discharge pH for each day of discharge consisting of the pH chart for each day of discharge and/or the pH data report from an electronic data recorder (if respective equipment is required in accordance with this general permit); |  |  |
| iv. the pH range (ie., the low and high pH recorded) of the final discharge pH for each day of discharge; |  |  |
| v. the pH range (ie., the low and high pH recorded) of the final discharge pH during each calendar month of the year; |  |  |
| vi. the individual(s) who performed the sampling or measurements; |  |  |
| vii. the dates analyses were performed; |  |  |
| viii. the individual who performed the analyses; |  |  |
| ix. the analytical techniques or methods used; |  |  |
| x. the results of such analyses; |  |  |
| xi. the calibration records of all pH and flow instrumentation equipment associated with wastewater treatment and discharge monitoring; |  |  |
| xii. frequency and duration for non-continuous discharges; and |  |  |
| xiii. type and quantity of each treatment chemical used per day. |  |  |
| b. for batch treatment systems: i. number of gallons of each batch discharged |  |  |
| ii. treatment chemicals added to each batch; |  |  |
| iii. the results of any chemical analysis done on each batch; |  |  |
| iv. what the wastewater of each batch consisted of (what processes contributed to the batch); |  |  |
| v. any maintenance performed on the system; and |  |  |
| vi. any observations the operator may have noticed about the discharge (clarity, foam, etc.). |  |  |
| c. for flow through systems: i. total daily/shift flow; |  |  |
| ii. treatment chemical dosage rates; |  |  |
| iii. daily/shift treatment chemical tank levels; |  |  |
| iv. the results of any chemical analysis performed on the discharge; |  |  |

Attachment L: Plan Checklist (continued)

Operation and Maintenance Plan Checklist

| v. any maintenance performed on the system; |  |  |
| --- | --- | --- |
| vii. the reason for any upsets that may have occurred; and |  |  |
| vii. any observations the operator may have noticed about the discharge (clarity, foam, etc.). |  |  |
| 10. A description of any security measures to prevent vandalism of the collection and treatment systems. |  |  |
| 11. A flow diagram of the treatment system for each discharge. The diagram must show all incoming waste streams, treatment units and their sizes, treatment chemical additions, all pumps and valves, electrical equipment (pH sensors, controllers and alarms, high level sensors and alarms, etc.) and connections between electrical units. Average, maximum, and design flow rates of incoming waste streams between treatment units and from discharge points and pumps must be indicated. |  |  |
| Signature of Registrant Date |  |  |
| Name of Registrant (print or type) Title (if applicable) |  |  |
| In the space below, please provide the names of the persons who prepared the Operation and Maintenance Plan and a brief description of the qualifications of each preparer, (i.e., professional certifications, education background, related work experience, etc.). |  |  |
| Operation and Maintenance Plan Revision Date: |  |  |

Attachment L: Plan Checklist (continued)

Spill Prevention and Control Plan Checklist:

| All registrants must complete and submit this Spill Prevention and Control Plan Checklist. Review the following plan elements to ensure that each element is included and adequately addressed in your Spill Prevention and Control Plan. A copy of this plan, containing all of the elements described in Appendix III of the subject General Permit shall be maintained on site at all times. Verify that the plan is adequate with respect to each element by inserting your initials in the space provided and indicate the page number were each element is addressed in your plan. For elements which are determined to be not applicable to the facility, please indicate "N/A" next to the element and provide a brief explanation. Note: If any plan element in this checklist has not been addressed in your Spill Prevention and Control Plan at the time you submit your application, in the space provided next to such element provide: 1) a brief explanation indicating why it has not yet been addressed and 2) if applicable, a proposed time schedule indicating when the element will be addressed in your Spill Prevention and Control Plan. |  |  |
| --- | --- | --- |
| Plan Elements | Initial/Not Applicable | Page # |
| 1. A copy of the site plan, exactly as prepared in Section 2, and topographic map. |  |  |
| 2. Supplemental layout drawings must be prepared as necessary to illustrate any item which is not included on the site plan or topographic map including: a. A General Layout of the Facility |  |  |
| b. Property Boundaries c. surface water bodies and wetlands on and adjacent to the facility; |  |  |
| d. Entrance and Exit Routes to/from the Facility |  |  |
| e. Areas Occupied by Manufacturing or Commercial Facilities |  |  |
| f. Hazardous Materials Process and Storage Areas |  |  |
| g. Waste Handling, Storage and Treatment Facilities |  |  |
| h. Loading and Unloading Areas |  |  |
| i. Storm drainage systems, including their discharge locations; |  |  |
| j. Sanitary sewer lines and/or septic systems; |  |  |
| k. Direction of Drainage from Hazardous Material and Waste Handling, Storage and Treatment Areas |  |  |
| l. Floor Drains, Pipes, and Channels which lead away from Potential Leak or Spill Areas and where these drain to |  |  |
| m. Spill Prevention Structures |  |  |
| 3. A chemical inventory list of all toxic and hazardous substances and compounds stored at the facility. The list shall indicate the name, CASE number, quantity store, and any hazardous/toxic components of all substances and compounds. |  |  |
| 4. A description of all spill prevention equipment and structures employed including underground seepage protection, cathodic protection of underground tanks, leak detection equipment, liquid level sensing devices, alarms, collision protection, diversionary structures, dikes, berms, sealed drains, etc. All such equipment and structures should be shown or referenced on the layout drawings required by element 2 of this checklist. |  |  |

Attachment L: Plan Checklist (continued)

Spill Prevention and Control Plan Checklist

| 5. A description of each facility used for the storage, collection, transfer, transport, treatment, loading or unloading of the substances listed in the plan as required by element 3 of this checklist and an evaluation of each facility's potential to generate a spill, leak or other unplanned release and the potential magnitude of such a release as related to the containment capacities of the various spill control structures described in the plan required by element 4 of this checklist. The evaluation must demonstrate that good engineering practices are satisfied, including the spill prevention and control requirements of 40 CFR 112, 40 CFR 264 and the General Permit for the Discharge of Stormwater Associated with Industrial Activities as applicable. At a minimum, the plan should provide that all areas in which chemicals are stored are provided with impermeable containment which will hold at least the volume of the largest chemical container, or 10% of the total volume of all containers in the area, whichever is larger, without overflow from the containment area. In addition, no interior building floor drains shall exist which are connected to any storm drainage system or which may otherwise direct interior floor drainage to exterior surfaces, unless such floor drain connection has been approved and permitted by DEEP. |  |  |
| --- | --- | --- |
| 6. A description of spill prevention procedures including practices to ensure tanks are not overfilled, chemical transfer procedures, chemical disposal practices, security measures, and operation and maintenance procedures. Descriptions of the type and frequency of inspections and monitoring for leaks or other conditions that could lead to spills shall be included in the plan. |  |  |
| 7. A list of available emergency response equipment at the site including a physical description of such equipment and its location. The location should be indicated on the facility layout required by element 2 of this checklist. The list of equipment should include, at a minimum, the following: a. Communication Equipment and Alarms |  |  |
| b. Spill Containment and Control Equipment and Tools |  |  |
| c. Spilled Material Storage Containers |  |  |
| d. Protective Clothing and Respirators |  |  |
| e. First Aid Kits |  |  |
| f. Decontamination Equipment |  |  |
| g. Ventilation Equipment |  |  |
| 8. A detailed description of procedures to be followed when responding to a spill at the facility. This description should cover the following items: a. Notification of Facility Personnel for Responding to Spills |  |  |
| b. Chain of Command for Spill Response |  |  |
| c. Evacuation Procedures |  |  |
| d. Notification of Response Agencies and Contractors |  |  |
| e. Spill Assessment and Response Procedures |  |  |

Attachment L: Plan Checklist (continued)

Spill Prevention and Control Plan Checklist

| f. Procedures for Preventing Contact between Incompatible Materials |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| g. Procedures for Disposing or Treating Spilled Material |  |  |  |  |  |  |
| 9. A description of follow-up reporting and documentation procedures to be followed in the event of a spill. A copy of the forms used should be included. |  |  |  |  |  |  |
| 10. A detailed outline of the training program or programs given to employees which will enable them to understand the processes and materials with which they are working, the safety and health hazards of such processes and materials, and the procedures and practices for preventing and responding to spills. A discussion of the appropriateness of training provided to each employee or group of employees should also be included in the plan. |  |  |  |  |  |  |
| 11. A history of spills and leaks of five gallons or more of toxic or hazardous substances as defined in RCSA Section 22a-430-4 Appendix B and Appendix D and 40 CFR Part 116.4, oil, and process wastewaters that occurred at the facility within the last three years. As applicable, include at a minimum, the following information: a. Type and amount of substance spilled |  |  |  |  |  |  |
| b. Location, date, and time of spill |  |  |  |  |  |  |
| c. Watercourse, soil or ground water affected |  |  |  |  |  |  |
| d. Cause of Spill |  |  |  |  |  |  |
| e. Action taken to prevent recurrence |  |  |  |  |  |  |
|  | Signature of Registrant Date |  |  |  |  |  |
|  | Name of Registrant Name (print or type) Title (if applicable) Note: If the applicant has already prepared a Spill Prevention, Control, and Countermeasure (SPCC) Plan in accordance with 40 CFR Chapter 1 Part 112, or Part 1510 of Chapter V, or a Stormwater Pollution Prevention Plan, or some other emergency or contingency plan, that plan need only be amended to incorporate provisions for the management of toxic and hazardous substances, process wastewaters, and quantities of oil outside of the scope of the SPCC Plan that are sufficient to comply with the requirements of Section 22a-430-3(p) of the Regulations of Connecticut State Agencies (RCSA). This checklist provides the requirements for satisfying Section 22a-430-3(p) RCSA. |  |  |  |  |  |
|  | In the space below, please provide the names of the persons who prepared the Spill Control and Prevention Plan and a brief description of the qualifications of each preparer, (i.e., professional certifications, education background, related work experience, etc.). |  |  |  |  |  |
|  | Spill Control and Prevention Plan Revision Date: |  |  |  |  |  |

Attachment M: Solvent Management Plan Checklist (If Applicable)

If applicable, a Solvent Management Plan containing all of the elements described in Appendix IV of the subject General Permit shall be submitted with this completed checklist when a registrant proposes to forego monitoring  of TTOs in accordance with Section 5(b)(1) of the subject general permit.

| Review the following plan elements to ensure that each element is included and adequately addressed in your solvent management plan. Submit this checklist with your solvent management plan. A copy of the solvent management plan must be maintained on-site at all times. Verify that the plan is adequate with respect to each element by inserting your initials in the space provided. For elements which have been determined to be not applicable to the facility, please indicate "N/A" next to the element and provide a brief explanation. Attach additional sheets if necessary. |  |  |
| --- | --- | --- |
| Plan Elements | Initial/Not Applicable | Page # |
| 1. An inventory of toxic organic compounds used or suspected to be present in the discharges. This inventory shall include the trade name/manufacturer, quantity and concentration of each toxic organic compound and the source of each toxic organic compound. |  |  |
| 2. A list of all processes where TTOs are used at the facility and a description of the methods used to ensure that TTOs do not enter any wastewaters at the facility. |  |  |
| 3. The method of disposal of toxic organic compounds including the method of storage of such compounds prior to disposal. This section shall identify the quantity and size of containers used for collection of toxic organic compounds, the maximum quantity of materials containing toxic organic compounds stored on-site at any one time, the frequency when spent toxic organic compounds are replaced and disposed of, the storage locations prior to disposal and the name of any licensed haulers disposing of such compounds. |  |  |
| 4. Housekeeping and Recordkeeping Procedures: Descriptions of the type and frequency of inspections and monitoring for leaks or other conditions that could lead to spills of toxic organic compounds shall be provided. Also, recordkeeping log forms shall be kept in each area where materials containing toxic organic compounds are present. These forms shall list all toxic organic compounds found in the area and material safety data sheets for each material containing toxic organic compounds. |  |  |
| 5. Spill and Leak Prevention Measures: A description of each area used for the collection, storage and transfer of materials containing toxic organic compounds and an evaluation of such an area for its potential to generate a spill, leak or any other unplanned release of materials containing toxic organic compounds. Also, include a description of all spill prevention equipment and structures utilized at the facility. |  |  |
| 6. Cleanup and Disposal Procedures: A detailed description of procedures to be followed when responding to a spill at the facility. This description should include all the items listed in element 8 of the Spill Control Plan Checklist. |  |  |
| 7. Plot Plan: A plot plan of the facility should clearly show all collection, storage and transfer areas of toxic organic compounds including floor drains, the direction of drainage from a potential spill and spill prevention structures and equipment. |  |  |

Attachment M: Solvent Management Plan Checklist (If Applicable) (continued)

| 8. Historical Data: Summarize and evaluate any Total Toxic Organic (TTO) monitoring results over the past 2 years. |  |  |
| --- | --- | --- |
| Signature of Registrant Date |  |  |
| Name of Registrant Name (print or type) Title (if applicable) |  |  |
| In the space below, please provide the names of the persons who prepared the Solvent Management Plan and a brief description of the qualifications of each preparer, (i.e., professional certifications, education background, related work experience, etc.). |  |  |
| Solvent Management Plan Revision Date: |  |  |