General Permit for the Discharge of Stormwater Associated with Industrial Activity, effective 10/1/2011

Stormwater Monitoring Report Form

Sector G – CTDOT Repair and Maintenance Facilities

# Facility Information

Permittee Name:      		Site Name:

Mailing Address:

Contact Person:      		Title:

Business Phone:      		ext.:      	Email:

Site Address:

Receiving Water (name/basin):

Permit #: GSI      		Primary SIC:

Discharges into an Impaired Waterbody:	Yes  	No  	(If yes, complete the table on page 3 of this form)

# Sample Information

Sample Location:	     	 Person Collecting Sample:

Date/Time Collected:	     		Date of Previous Storm Event:

This report is for samples required:	Semi-annually		Annually		Other

Check here if the sample contains snow or ice melt:

# Monitoring Results

| *Parameter | Required Frequency | Results (units) | Benchmark** | Check if benchmark exceeded | Test Method | Laboratory Name |
| --- | --- | --- | --- | --- | --- | --- |
| Oil & Grease | Once per permit term |  | 5.0 mg/L |  |  |  |
| Rainfall pH | Once per permit term |  | n/a |  |  |  |
| Sample pH | Once per permit term |  | 5-9 SU |  |  |  |
| COD | Once per permit term |  | 75 mg/L |  |  |  |
| TSS | Once per permit term |  | 90 mg/L |  |  |  |
| TP | Once per permit term |  | 0.40 mg/L |  |  |  |
| TKN | Once per permit term |  | 2.30 mg/L |  |  |  |
| NO3-N | Once per permit term |  | 1.10 mg/L |  |  |  |
| Total Copper | Once per permit term |  | 0.059 mg/L |  |  |  |
| Total Zinc | Once per permit term |  | 0.160 mg/L |  |  |  |
| Total Lead | Once per permit term |  | 0.076 mg/L |  |  |  |
| 24 Hr. LC50 | Annual-year 1&2 |  | n/a |  |  |  |
| 48 Hr. LC50 | Annual year 1&2 |  | n/a |  |  |  |

* See Additional Sector G Monitoring Section on page 3 of this form for CTDOT facilities with incidental solid de-icing material storage.

**If the single sample is equal to or greater than the benchmark listed, check the appropriate box on this page. In that case, you have exceeded the benchmark and must comply with Section 5(e)(1)(B) of the General permit for requirements. However, you do not need to continue to sample.

STORMWATER ACUTE TOXICITY TEST DATA SHEET

(required annually only during Year 1 and Year 2 of the permit)

| Site Name: |  |
| --- | --- |
| Date/Time Begin: | Date/Time End: |
| Sample Hardness: | Sample Conductivity: |
| Test Species: Daphnia pulex < 24 hrs old | Dilution Water Hardness: |

| Effluent Dilution |  | Number of Organisms Surviving |  |  | Dissolved Oxygen (mg/L) |  |  | Temperature (oC) |  |  | pH (su) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Hour | 00 | 24 | 48 | 00 | 24 | 48 | 00 | 24 | 48 | 00 | 24 | 48 |
| ## CONTROL 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## CONTROL 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONTROL 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONTROL 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.25% A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.25% B |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.25% C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6.25% D |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12.5% A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12.5% B |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12.5% C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12.5% D |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25% A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25% B |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25% C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25% D |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50% A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50% B |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50% C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50% D |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 100% A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 100% B |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 100% C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 100% D |  |  |  |  |  |  |  |  |  |  |  |  |  |

REFERENCE TOXICANT RESULTS

| Test Species | Date | Reference Toxicant | Source | LC50 |
| --- | --- | --- | --- | --- |
| Daphnia pulex |  |  |  |  |

Additional Monitoring:  Sector G

For CTDOT facilities with incidental solid de-icing material storage:

| Parameter | Required Frequency | Results (units) | Benchmark | Test Method | Laboratory Name |
| --- | --- | --- | --- | --- | --- |
| Chloride | Once per permit term |  | n/a |  |  |
| Cyanide | Once per permit term |  | n/a |  |  |

Additional Monitoring for Discharges to Impaired Waters (if applicable):

| Parameter | Frequency | Results (units) | Test Method | Laboratory Name |
| --- | --- | --- | --- | --- |

Statement of Certification

| “I have personally examined and am familiar with the information submitted in this document and all attachments thereto, and I certify that based on reasonable investigation, including my inquiry of the individuals responsible for obtaining the information, the submitted information is true, accurate and complete to the best of my knowledge and belief. I understand that a false statement in the submitted information may be punishable as a criminal offense, in accordance with section 22a-6 of the General Statutes, pursuant to section 53a-157b of the General Statutes, and in accordance with any other applicable statute.” |  |  |
| --- | --- | --- |
| Signature of Permittee |  | Date |
| Name of Permittee (print or type) |  | Title (if applicable) |
| Signature of Preparer (if different than above) |  | Date |
| Name of Preparer (print or type) |  | Title (if applicable) |

Please send all completed forms to:

WATER TOXICS PROGRAM COORDINATOR

BUREAU OF WATER PROTECTION AND LAND REUSE

CT DEPARTMENT OF ENERGY & ENVIRONMENTAL PROTECTION

79 ELM STREET

HARTFORD, CT 06106-5127