Project #       		 Reviewer:

Review Fee  $      	   Payment Received:       Full

Site Visit(s) 	Date:       		Date:       		Date:

Tracking and Milestones:

Stormwater Pollution Control Plan (SWPCP) rEVIEW

GENERAL PERMIT FOR DISCHARGE OF STORMWATER AND DEWATERING WASTEWATERS ASSOCIATED WITH CONSTRUCTION ACTIVITIES

(DEEP-WPED-GP-015)

Registrant Information

Registered Business Name: Contact person: Phone:

Site Information

Site Name: Project Type: Number of lots/acres: Address: City/Town: State: Zip Code:

List Plans, Calculations and Reports Provided by the Registrant

Registration Information

Part I: Registration Type

Type of registration (i.e. locally approvable, locally exempt, re-registration, new registration)

Part II: Fee information

Indication of fee payment

Part III: Registrant information

Name, address, phone and contact person for registrant

Registrant’s Secretary of State ID # (if applicable)

Billing contact name, address and phone (if different from registrant)

Primary contact person (if different from registrant) with all contact information

Property owner and contact information (if different from registrant)

Developer’s name and contact information (if different from registrant)

General contractor and contact information (if different from registrant)

Name of consultant(s) who assisted in registration and/or SWPCP and contact information

Signatures of contractors/subcontractors

Part IV: Site information

Site name and location

Description of the project

Duration of construction activities

Normal working hours on-site

Mining operation determination

Sanitary or combined sewer discharge determination

Federally recognized Indian lands determination

Coastal Boundary determination

Endangered or Threatened Species determination

Wild and Scenic Rivers determination

Aquifer Protection Area determination

Identified that construction activities are in accordance with the 2002 Connecticut Guidelines for Soil Erosion and Sediment Control (the Guidelines)

Historic and/or Archeological Resource determination

Conservation or Preservation restriction determination

Part V: Stormwater Discharge information

Stormwater Discharge Information Table 1 completed

Stormwater Discharge Information Table 2 completed

Impaired waters provisions (if applicable)

Part VI: Pollution Control Plan information

SWPCP submission status

Part VII: Registrant Certification

Certification signed by registrant or re-registrant

Part VIII: PE/LA Certification

Design certification signed by licensed PE or LA (where appropriate)

Part IX: Third Party Qualified Professional Certification

Review certification by Conservation District or Qualified Professional

Part X: Supporting Documents

Attachment A: USGS Quad map (if submitting paper registration)

Attachment B: Documentation related to Coastal Consistency Review (if applicable)

Attachment C: Threatened and Endangered Species form (if applicable) and additional information (such as a copy of a NDDB map)

Attachment D: Conservation or Preservation Restriction Information (if applicable)

Attachment E: Non-electronic SWPCP (if applicable)

Contents of the Stormwater pollution control plan (SWPCP)

Soil Erosion and Sediment (E&S) Controls

Site description narrative:

Described the nature of the construction activities

Provided total site acreage

Provided disturbed acreage

Estimated average runoff coefficient after construction

Identified immediate and ultimate receiving water(s) of all discharges authorized by Permit

Identified other permits and/or plans required

Identified extent of inland, tidal, and fresh-tidal wetlands

Site map:

Existing and planned drainage patterns

Existing and planned elevations and slopes

Location of structural and non-structural controls

Description and map of existing soils

Location of outfall(s) proposed for monitoring

Limits of soil disturbance

Location of surface waters, impaired waters, waters with TMDL’s

Existing vegetation

Locations of E&S controls

Location of stabilization practices

Location of post-construction re-vegetation

Location of utilities, roads and structures

Location of surface water, including inland wetlands, fresh-tidal wetlands and tidal wetlands

Locations of discharges to surface waters (pre-, during, and post-construction)

Locations and provisions for waste disposal

Locations and provisions for washout areas

Locations and provisions for impaired waters

Limits of FEMA floodplains and floodways

CT coastal resource limits

CT stream encroachment lines

Location of any public drinking water supply areas or watersheds

Construction sequencing:

Identified sequence of major construction activities and # of days for each sequence

Estimated start and completion times for each phase

Avoidance of disturbances over 5 acres at one time, where possible

Identified limits of disturbance including each phase

Control Measures:

Erosion and sediment control measures

Provided drawings and specifications for each measure

Identified stabilization practices for disturbed areas

Identified stabilization practices for stockpiles

Identified measures to preserve existing vegetation

Provided details of planned vegetation, seed mixes and planting dates

Provided details for short-term and long-term stabilization and/or vegetation of disturbed areas

Identified practices for non-vegetative long-term and winter stabilization

Provided for slope benches for all slopes exceeding 15 feet height and slopes >3:1 or

Provided slope stability analysis for engineered slope stabilization measures

Provided narrative and drawings for structural diversion and storage measures

Sediment traps provided for drainage areas of 2 to 5 acres

Temporary sediment basin provided for drainage areas >5 acres

Described maintenance for E&S control and stabilization measures

Narrative, drawings and calculations of control measures for dewatering wastewaters

Description of emergency procedures (for flooding, etc.)

Runoff Reduction and Low Impact Development (LID) Information (specific measures for run-off reduction and LID measures):

Control Measures: (continued)

The location of the streams, floodplains, all wetlands, riparian buffers, slopes 3:1 and steeper, and vegetation identified for preservation

Natural drainage patterns and man-made drainage features

Location of areas with soils suitable for infiltration and areas appropriate for LID measures

Location of all areas unsuitable or least suitable for infiltration for the siting of development

Location of all post-construction stormwater management measures, runoff reduction practices, and LID design measures developed pursuant to subsection 5(b)(2)(C)(i)

Identification of areas inappropriate for the infiltration due to potential for groundwater pollution

A narrative describing the nature, purpose, implementation, and long-term maintenance of post-construction measures, runoff reduction practices and LID design measures

Calculations for measures developed pursuant to Section 5(b)(2)(C)(i), illustrating the retention of the water quality volume or half the water quality volume

A narrative describing any site constraints that prevent retention of the appropriate volume specified in Section 5(b)(2)(C)(i)

Calculations showing the proposed effective impervious cover for the site and, where necessary or appropriate for measures developed for linear projects pursuant to Section 5(b)(2)(C)(i), each outfall drainage area

Other measures:

Description of measures to manage construction waste materials

Description of off-site sediment tracking and dust control

Narrative, location, and drawings of washout areas

Description of maintenance practices for washout areas

Indicated cleaning of post-construction stormwater structures prior to termination inspection

Indicated removal of silt fence prior to filing termination notice

Description and location of chemical and petroleum product storage containment and controls

Narrative describing routine inspection procedures

Description of qualifications of inspection personnel of the Permittee

Narrative describing monitoring procedures, including frequency and methodology

List of all contractor and subcontractors

Description of Endangered Species measures, if necessary

Description of Aquifer Protection provisions, if necessary

Description of provisions of Coastal Site Plan approval, if necessary

Discussion of archeological or historic preservation issues on site, if necessary

Description of activities subject to the Wild & Scenic Rivers Act, if necessary

Impaired waters controls (where applicable):

Narrative and plan sequencing to ensure no more than 3 acres concurrent disturbance

AND

Identified stabilization practices within 3 days for temporary suspension of activity, OR

Description and calculations showing retention of 2-year, 24-hour storm, OR

Compliance with WLA and/or other measures of an existing TMDL

Additional E&S Information:

See attached reviewer’s comments page

Reviewer provided additional information to Registrant: reports, photographs, designs, etc.

Post-construction Stormwater Controls

Show on site map:

Indicated retention standards for redevelopment or other development

Drainage patterns and slopes after grading

Location of LID and runoff reduction measures

Location of other structural sedimentation/floatables treatment measures

Location of velocity dissipation measures

Provided drawings and specifications of each stormwater structure/measure

Narrative of post-construction controls:

Description of control measures for post-construction stormwater discharge

Long-term maintenance plan for cleaning of post-construction stormwater structures

Additional Stormwater Management Information:

See attached reviewer’s comments page

Reviewer provided additional information to Registrant: reports, photographs, designs, etc.

Supporting Documents (as needed):

Calculations supporting the design of sediment and floatables removal controls pursuant to    Section 5(b)(2)(C)(ii)(b)

Calculations supporting the design of velocity dissipation controls pursuant to Section 5(b)(2)(C)(ii)(c)

Provided boring logs, test pit logs, soil reports, etc.

Provided hydraulic calculations for existing and planned hydrology

Provided calculations for LID and runoff reduction measures (WQV or ½ WQV retention)

Provided engineering calculations for any engineered control measures

Pre- and post-construction peak flow calculations

1 inch of rainfall retained onsite if within 500 feet of a non-fresh tidal wetland

Provide a post-construction average runoff coefficient

Off-site effect of flow and volume

Groundwater flow estimates

Inspection forms and checklist

Contractor Certification Statement (including individual lot developers)

Demonstration of compliance with TMDL, where applicable

Plan Signature

Identified Soil Erosion and Sediment Control MEASURES IN Site PlANs

| Function | Measure | Phase/Sheet | Engineered Design | Calculations Provided | Reviewer Comments |
| --- | --- | --- | --- | --- | --- |
| Protect Vegetation | Tree Protection |  | No |  |  |
| Preserve & conserve soil | Topsoiling |  | No |  |  |
|  | Land Grading |  | Possibly |  |  |
|  | Surface Roughening |  | No |  |  |
|  | Dust Control |  | No |  |  |
| Vegetative soil cover | Temporary Seeding |  | No |  |  |
|  | Permanent Seeding |  | No |  |  |
|  | Sodding |  | No |  |  |
|  | Landscape Planting |  | No |  |  |
| Non-living soil protection | Temporary Soil Protection |  | No |  |  |
|  | Mulch for Seed |  | No |  |  |
|  | Landscape Mulch |  | No |  |  |
|  | Temporary Erosion Control Blanket |  | No |  |  |
|  | Permanent Turf Reinf. Mats |  | Yes |  |  |
|  | Stone Slope Protection |  | No |  |  |
| Stabilization structures | Retaining Walls |  | Yes |  |  |
|  | Riprap |  | Yes |  |  |
|  | Gabions |  | Yes |  |  |
|  | Permanent Slope Drain |  | Yes |  |  |
|  | Channel Grade Stabilization Structure |  | Yes |  |  |
|  | Temporary Lined Chute |  | Yes |  |  |
|  | Temporary Pipe Slope Drain |  | Yes |  |  |
| Drainageways & watercourses | Vegetated Waterway |  | Possibly |  |  |
|  | Temporary Lined Channel |  | No |  |  |
|  | Permanent Lined Waterway |  | Yes |  |  |
|  | Temporary Stream Crossing |  | No |  |  |
| Diversions | Temporary Fill Berm |  | No |  |  |
|  | Water Bar |  | No |  |  |
|  | Temporary Diversion |  | Possibly |  |  |
|  | Permanent Diversion |  | Yes |  |  |
| Subsurface drain | Subsurface Drain |  | Yes |  |  |

Identified Soil Erosion and Sediment Control MEASURES IN Site PlANs (continued)

| Detention structures | Detention Basin |  | Yes |  |  |
| --- | --- | --- | --- | --- | --- |
| Energy dissipators | Level Spreader |  | Yes |  |  |
|  | Outlet Protection |  | Yes |  |  |

|  | Stone Check Dam |  | Possibly |  |  |
| --- | --- | --- | --- | --- | --- |
| Sediment impoundments, barriers & filters | Temporary Sediment Basin |  | Yes |  |  |
|  | Temporary Sediment Trap |  | No |  |  |
|  | Hay Bale Barrier |  | No |  |  |
|  | Geotextile Silt Fence |  | No |  |  |
|  | Turbidity Curtain |  | No |  |  |
|  | Vegetative Filter |  | No |  |  |
| Tire tracked soils | Construction Entrance |  | No |  |  |
| Dewatering | Pump Intake and Outlet Protection |  | No |  |  |
|  | Pump Settling Basin |  | No |  |  |
|  | Portable Sediment Tank |  | No |  |  |
|  | Dewatering of Earth Materials |  | Possibly |  |  |

Additional Comments for E&S control measures:

Identified Stormwater Control MEASURES IN Site PlANs

| Primary Treatment Practices | Phase/Sheet | Engineered Design | Calculations Provided | Low Impact Development |
| --- | --- | --- | --- | --- |
| Micropool extended detention pond |  |  |  |  |
| Wet pond |  |  |  |  |
| Wet extended detention pond |  |  |  |  |
| Multiple pond system |  |  |  |  |
| Pocket pond |  |  |  |  |
| Shallow wetland |  |  |  |  |
| Extended detention wetland |  |  |  |  |
| Pond/wetland system |  |  |  |  |
| Gravel wetland |  |  |  |  |
| Infiltration Trench |  |  |  |  |
| Infiltration Basin |  |  |  |  |
| Infiltration Parking Island |  |  |  |  |
| Surface sand filter |  |  |  |  |
| Underground sand filter |  |  |  |  |
| Perimeter sand filter |  |  |  |  |
| Organic filter |  |  |  |  |
| Tree box filter |  |  |  |  |
| Bioretention/raingarden |  |  |  |  |
| Green Roof |  |  |  |  |
| Dry swales |  |  |  |  |
| Wet swales |  |  |  |  |
| Secondary Treatment Practices |  |  |  |  |
| Dry detention pond |  |  |  |  |
| Underground detention facilities |  |  |  |  |
| Deep sump catch basins |  |  |  |  |
| Oil/particle separators |  |  |  |  |
| Dry wells |  |  |  |  |
| Permeable pavement/pavers |  |  |  |  |
| Vegetated filter strips |  |  |  |  |
| Grass drainage channels |  |  |  |  |
| Other/Innovative/Emerging Technology |  |  |  |  |
| Catch basin inserts |  |  |  |  |
| Hydrodynamic separators |  |  |  |  |
| Media filters |  |  |  |  |
| Underground filtration systems |  |  |  |  |
| Alum injections |  |  |  |  |
| Rainfall harvesting/cisterns |  |  |  |  |

# Stormwater Management and Treatment Practices

The General Permit provides goals for the post-construction stormwater management to control discharges of stormwater pollutants.  Some measures may not require all of the following information.

Stormwater Control Measure:

Name in Plans      		Practice      	 Location

| (Complete this sheet for each post-construction stormwater measure) |  |  |  |
| --- | --- | --- | --- |
| Discharge Calculations provided: |  |  |  |
| 1. Water Quality Volume (WQV) = (ac-ft) |  |  |  |
| 2. Water Quality Flow (WQF) = (cfs) |  |  |  |
| 3. Groundwater Recharge Volume (GRV) = (ac-ft) |  |  |  |
| 4. Runoff Capture Volume (RCV) = (ac-ft) (only required for non-fresh tidal discharges) |  |  |  |
| 5. Provided Peak Discharge Rates for the following storm events: |  |  |  |
| Storm Event | # Pre-Development (cfs) | Post-Development (cfs) | Change (+/- cfs) |
| 24 hr |  |  |  |
| 2-year |  |  |  |
| 10-year |  |  |  |
| 25-year |  |  |  |
| 100-year |  |  |  |
| 500-year |  |  |  |
| This stormwater measure (or as part of a discharge treatment train) meets the goals of the General Permit: Yes No Comments: |  |  |  |

Additional Comments for Stormwater Treatment Practices:

Site Inspection Worksheet for E&S and Stormwater Control Measures

Project #:      	    Plans Dated        	     Last Revised

District:       	     Reviewer:       	_____________________

Location:

Project Description:

Contact Person for the Site:

Name:       	 ___________________________

Company:       	     Phone:

Site Visit Date:

Weather conditions:

Photographs taken	  Yes 	  No

Contacted Responsible Party	  Yes 	  No

Inspection submitted to CT DEP	  Yes 	  No

Inspection submitted to Permittee 	  Yes 	  No

Comments: