Data Quality Assessment Worksheet 1

| PROJECT: |  |  |  | FILE NUMBER: |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| LABORATORY WORK ORDER: |  |  |  | REVIEWER: DATE: |  |  |
| BLANKS |  | Compound | Compound | Compound | Compound | Notes |
| Method Blank, VOCs | >RL? |  |  |  |  |  |
| Method Blank, SVOCs | >RL? |  |  |  |  |  |
| Method Blank, VPH | >RL? |  |  |  |  |  |
| Method Blank, EPH | >RL? |  |  |  |  |  |
| Method Blank, PCBS | >RL? |  |  |  |  |  |
| Method Blank, Pest | >RL? |  |  |  |  |  |
| Method Blank, Metals | >RL? |  |  |  |  |  |
| Method Blank, Total Cyanide | >RL? |  |  |  |  |  |
| Method Blank, ETPH | >RL? |  |  |  |  |  |
| Field Blank | >RL? |  |  |  |  |  |
| Trip Blank | >RL? |  |  |  |  |  |
| VPH Blank (methanol) | >RL? |  |  |  |  |  |
| Blank Soil VOCs (methanol) | >RL? |  |  |  |  |  |
| Blank Soil VOCs (water/bisulfate) circle | >RL? |  |  |  |  |  |
| LCS | SV | Low Bias | High Bias | Compound | Compound | Notes |
| VOCs | <10% | > 10% & < LCL | >UCL |  |  |  |
| SVOCs | <10% | > 10% & < LCL | >UCL |  |  |  |
| VPH | <10% | > 10% & < LCL | >UCL |  |  |  |
| EPH | <10% | > 10% & < LCL | >UCL |  |  |  |
| PCB | <10% | > 10% & < LCL | >UCL |  |  |  |
| PEST | <10% | > 10% & < LCL | >UCL |  |  |  |
| Metals | <10% | > 10% & < LCL | >UCL |  |  |  |
| Total Cyanide | <10% | > 10% & < LCL | >UCL |  |  |  |
| ETPH | <10% | > 10% & < LCL | >UCL |  |  |  |
| SURROGATES | SV | Low Bias | High Bias | Compound | Compound | Notes |
| VOCs | <10% | > 10% & < LCL | >UCL |  |  |  |
| SVOCs | <10% | > 10% & < LCL | >UCL |  |  |  |
| VPH | <10% | > 10% & < LCL | >UCL |  |  |  |
| EPH | <10% | > 10% & < LCL | >UCL |  |  |  |
| PCB | <10% | > 10% & < LCL | >UCL |  |  |  |
| PEST | <10% | > 10% & < LCL | >UCL |  |  |  |
| ETPH | <10% | > 10% & < LCL | >UCL |  |  |  |
| MS/MSDS | SV | Low Bias | High Bias | QC Source | RPDS | Notes |
| VOCs | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| SVOCs | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| VPH | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| EPH | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| PCB | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| PEST | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| Metals | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| Total Cyanide | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| ETPH | <10% | > 10% & < LCL | >UCL | Batch? Site? |  |  |
| FIELD DUPLICATES RPDS |  | Soil | Water | Compound | Compound | Notes |
| VOCs |  | RPD > 50% | RPD > 20% |  |  |  |
| SVOCs |  | RPD > 50% | RPD > 20% |  |  |  |
| VPH |  | RPD > 50% | RPD > 20% |  |  |  |
| EPH |  | RPD > 50% | RPD > 20% |  |  |  |
| PCB |  | RPD > 50% | RPD > 20% |  |  |  |
| PEST |  | RPD > 50% | RPD > 20% |  |  |  |
| Metals |  | RPD > 50% | RPD > 20% |  |  |  |
| Total Cyanide |  | RPD > 50% | RPD > 20% |  |  |  |
| ETPH |  | RPD > 50% | RPD > 20% |  |  |  |
| LAB DUPLICATES RPDS |  | Soil | Water | Compound | Compound | Notes |
|  |  | RPD > 50% | RPD > 20% | Batch? Site? |  |  |
| Reasonable Confidence Achieved? Y/N Significant QC Variances Noted? Y/N Requested Reporting Limits Achieved? Y/N |  |  |  |  |  |  |
| Preservation Requirements Met? Y/N Holding Time Requirements Met? Y/N |  |  |  |  |  |  |
| Abbreviations: RL = Reporting Limit; LCS = Laboratory Control Sample; SV = Significant QC Variance; LCL= RCP Lower Control Limit; UCL= RCP Upper Control Limit; RPD = Relative Percent Difference; VOCs = Volatile Organic Compounds; SVOCs = Semivolatile Organic Compounds; VPH = Volatile Petroleum Hydrocarbons; EPH = Extractable Petroleum Hydrocarbons; PCBs = Polychlorinated Biphenyls; Pest = Pesticides; ETPH Extractable Total Petroleum Hydrocarbons |  |  |  |  |  |  |