#### PROTOCOL:  HEMOCCULT TESTING

I. Purpose: To facilitate Nurse and/or MD in assessing for presence of blood in stool.

Definitions: Licensed Nurse:  A Registered Nurse (R.N.) or a Licensed Practical

Nurse (L.P.N.), working under the direction of a registered nurse, who holds a current

license issued by the State of Connecticut under Chapter 378 of the Connecticut

General Statutes.

II.  Responsibility:

- Training:  Training will be conducted by a licensed nurse.

- Performance:

  - Direct care staff who have completed:

    - baseline competency training checklist of DDS

    - procedure task specific training

  - Trained staff will follow individual procedural guidelines including notifying the licensed nurse as indicated

- Monitoring:

  - The licensed nurse.

  - Trained staff performing the task under the clinical direction of the licensed nurse, will notify the nurse of issues and/or outcomes as directed by the nurse.

- Documentation:

  - Individuals who perform the tasks will record all pertinent information as instructed by the licensed nurse.

  - Licensed nurse will ensure agency compliance with required documentation.

III.  Training to Include:

- Initial:  overview of the procedure, its purpose.  Demonstration of techniques by Licensed nurse and return demonstration by the student.

- Documentation of Training and Monitoring:

  - Training:  licensed nurse completes training record of staff on “DDS Nursing Delegation Procedure Performance Evaluation Form”.

  - Monitoring:  licensed nurse completes DDS “Nursing Delegation Task Competency Monitoring Form”.

- Frequency of Monitoring Task and Performance:

  - Staff will be monitored in their proficiency at this skill as determined by the licensed nurse, but not to exceed 12 months.

IV.  Related Knowledge:

- Universal Precautions

- Blood found in stool is considered abnormal and needs prompt and thorough follow-up.

- Causes of occult blood

STATE OF CONNECTICUT

DEPARTMENT OF DEVELOPMENTAL SERVICES

NURSING DELEGATION PROCEDURE

# PROCEDURE:  Hemoccult Testing

Name:

Residence:

Date of Initial Order:            			Date Order Renewed:

(in pencil)

Order:

I.  Diagnosis:

II. Purpose of Procedure (why individual needs procedure)

_________________________________                    ______________________

Signature of Delegating RN                                                        Date

## III.  Procedure

| TASK | RATIONALE |
| --- | --- |
| A. Gather Equipment: |  |
| 1. Wash hands 2. Hemoccult slide packet 3. Hemoccult developer (check expiration date) 4. Wooden stick 5. Paper towel 6. Disposable gloves | - To facilitate procedure results with least amount of stress and discomfort to individual - Appropriate equipment on hand |
| B. Individual’s Preparation: |  |
| 1. Identify the individual 2. Provide privacy 3. Explain procedure to individual each time 4. Reassure, as necessary 5. Allow individual to assist in procedure as much as possible. 6. Position individual comfortably on toilet, commode, bedpan, bed, etc… | - To ensure understanding, comfort and cooperation of individual during procedure - To eliminate fear and apprehension - To reduce anxiety - To obtain a stool specimen |
| C. Perform Task: |  |
| 1. Wash hands 2. Put on disposable gloves 3. Place paper towel on flat surface and open flap of hemoccult packet, exposing guiac paper 4. Using the provided wooden stick, take small sample of feces and smear on sample area following manufacturer’s directions. 5. Repeat the procedure, taking fecal sample from a different part of the specimen and making smear in adjacent sample area. *** 6. Close tab and turn packet over 7. Open back tab 8. Apply two drops of hemoccult developer directly over each smear. 9. Read results 30-60 seconds later 10. Presence of blood (positive result) is indicated by a blue discoloration around perimeter of smear. 11. Dispose of specimen (hemoccult slide packet), paper towel and wooden stick. 12. Check and be sure area is clean and free of feces and/or bodily fluids. 13. Remove and dispose of gloves. 14. Wash your hands | ### Infection control - Universal precautions - Protects counter from contamination - Follow recommended direction - To provide greater accuracy for testing ***types of test cards may vary, but 2 separate samples are required)*** - To determine the result of test - Infection control - Infection control |
| - Check Individual’s Status: | ### N/A |
| - Care of Equipment: |  |
| - Return hemoccult developer to appropriate storage area per manufacturer’s directions. | - To ensure availability for future use |
| F. Documentation: |  |
| 1. Follow agency procedure for documentation 2. Information must include: - Date/time - Results of test (positive or negative) - Problems encountered - Your signature 3. Report results promptly per written procedure as defined by the Licensed Nurse and document. | - Ongoing record of hemoccult test (positive/negative) - To ensure accurate and complete information for report - To ensure timely intervention addressing abnormal results |

## PLEASE NOTE:  NO TASK IS CONSIDERED COMPLETED UNTIL DOCUMENTATION AND

REQUIRED REPORTING OCCURS.  ANY CHANGE OR VARIATION FROM THE

INDIVIDUAL’S BASELINE SHOULD BE REPORTED PROMPTLY TO THE LICENSED

NURSE.

STATE OF CONNECTICUT

DEPARTMENT OF DEVELOPMENTAL SERVICES

NURSING DELEGATION PROCEDURE

##### HEMOCCULT MONITORING FORM

Name:      						Residence:

| Initials | Signature | Initials | Signature |
| --- | --- | --- | --- |

| Date | Time | Result | Initials | Comments |
| --- | --- | --- | --- | --- |