## Sampling Point Inventory
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
SAMPLING SITE PLAN - SAMPLING POINT INVENTORY FORM
1. Public Water System (PWS) Information:
PWSID: | [6 empty] | Date:
PWS Name:
City/Town:
2. Sampling Point Information
Activity Code | Water System Facility ID (WSF ID) | Sampling Point ID | Sampling Point Description | Status | Total Coliform | Lead and Copper Rule |  | WQP | Asbestos | Stage 2 DBPR
[6 empty] | Tier Level | Tier Type

## Instructions
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
SAMPLING SITE PLAN - SAMPLING POINT INVENTORY FORM
Instructions and Permitted Values
Purpose: The Sampling Site Plan - Sampling Point Inventory Form shall be used by all Public Water Systems in Connecticut to report changes to sampling points identified in a water system's Sampling Site Plan. In addition, a written explanation of the reason that the sampling site has changed must be included. All sample results submitted to the Department must include the specific sampling point where the sample was collected. All Sampling Site Plans are subject to State review and revision.
Column | Instructions
Activity Code | The available Activity Codes are as follows:
| N | New: A New sampling point is being added to the existing sampling point Inventory.
| C | Change: Changes are being proposed for the existing sampling point.
BLANK: No changes are proposed.
Water System Facility ID | Water System Facility (WSF) Identification codes are assigned by the Department to critical components of the water system. WSF IDs are typically assigned to the following: reservoirs, wells, springs, treatment plants, pump stations, storage tanks, distribution systems, and entry point sampling stations. Please notify the Department if the WSF information is not correct.
Sampling Point ID Code | This field must be populated with a unique ID code for each sampling point at each Water System Facility. Sampling Point ID Codes can not exceed 11 characters and should not contain any punctuation or spaces. If a utility has existing Sampling Point ID codes, they may be used in this field. Only one ID may be assigned to a discrete sampling location.The Department reserves the right to modify suggested Sampling Point ID Codes for data management purposes when appropriate. The following Sampling Point ID codes are reserved by the Department and have been or will be assigned accordingly:
| 1 | Reservoir
| 2 | Well
| 3 | Entry Point
| 4 | Generic Distribution System
| 5 | Combined Filter Effluent
| 6 | Reserved
| 7 | Reserved
| 8 | Reserved
| 9 | Reserved
Sampling Point Description | This field is used to describe the location of a sampling point. The most common use would be to input an address. For PWSs that are located at a single address, more specific information should be used to describe the sampling point, such as a specific apartment or room within a building. Public water systems that serve multiple towns should be careful to differentiate between sampling points that could exist in more than one town (i.e. 100 Main Street). This field must be 20 characters or less.
Status | Indicates the current status of the Sampling Point.
| A | Active
| I | Inactive
| P | Proposed
TCR Sampling Location (Y/N) | TCR Sampling Locations are required for all public water systems. Indicates whether or not the sampling point is used for compliance with the Total Coliform Rule.
| Y | Yes
| N | No
BLANK: Sample location is not used for Total Coliform Rule Compliance.
Lead and Copper Rule Tier | Lead and Copper Rule sampling locations are required for all Community (CWS) and Non-Transient Non-Community Public Water Systems (NTNC). Each CWS and NTNC shall complete a materials evaluation of its distribution system in order to identify a pool of targeted sampling sites that meets the requirements of Section 19-13-B102(e)(8)(A) of the Regulations of Connecticut State Agencies. The pool should be sufficiently large to ensure that the PWS can collect the number of lead and copper tap water samples required for compliance. All sites from which first-draw samples are collected shall be selected from this pool of targeted sampling sites. Sampling sites shall not include faucets that have point-of-use or point-of-entry treatment devices designed to remove inorganic contaminants. For an explanation of the different Tiers, please review the following document: "Lead and Copper Monitoring and Reporting Guidance for Public Water Systems" (EPA-816-R-10-004)
http://nepis.epa.gov/Exe/ZyPDF.cgi?Dockey=P100DP2P.txt
| 1 | Tier 1 Location
| 2 | Tier 2 Location
| 3 | Tier 3 Location
| N | Non-Tier Location. Site does not satisfy any of the tier levels.
BLANK: Transient public water systems can leave this field blank.
Lead and Copper Rule Tier Type | Each CWS and NTNC shall the designate the Tier Type for each distribution (tap) sampling location designated as a Lead and Copper Rule Tier 1, 2, 3 or Non-Tier sampling location. The Tier Types are described below:
| Cu>82S | CWS Tier 1 Types Single family structure that contains copper pipes with lead solder installed after 1982 and before 1987.
| PbPS | Single family structure containing lead pipes.
| LSLS | Single family structure served by a lead service line.
| Cu>82M | CWS Tier 2 Types Multiple family structure that contains copper pipes with lead solder installed after 1982 and before 1987.
| PbPM | Multiple family structure containing lead pipes.
| LSLM | Multiple family structure served by a lead service line.
| Cu<83S | CWS Tier 3 Types Single family structure that contains copper pipes with lead solder installed before 1983.
| Cu>82B | NTNC Tier 1 Types Non-residential structure that contains copper pipes with lead solder installed after 1982 and before 1987.
| PbPB | Non-residential structure containing lead pipes.
| LSLB | Non-residential structure served by a lead service line.
| Cu<83B | NTNC Tier 2 Types Non-residential structure that contains copper pipes with lead solder installed before 1983.
| NonTS | Non-Tier Types Single family structure, non-tier.
| NonTM | Multiple family structure, non-tier.
| NonTB | Non-residential structure, non-tier.
BLANK: Transient public water systems can leave this field blank.
WQP (Y/N) | Water Quality Parameter (WQP) sampling locations are required for all CWS and NTNC Public Water Systems. The distribution system sampling locations must be representative of water quality throughout the distribution system taking into account the number of persons served, the different sources of water, the different treatment methods employed by the system, and seasonal variability. All entry point sampling locations are also considered WQP sampling locations.
| Y | Yes
| N | No
BLANK: Transient public water systems can leave this field blank.
Asbestos Sampling Location (Y/N) | Asbestos Sampling Locations are required for all Community and Non-Transient Non-Community Public Water Systems. Each public water system shall collect asbestos samples from the distribution system at a location that is representative of each entry point. When applicable, the samples shall be collected from a tap served by an asbestos cement pipe and under conditions where asbestos contamination is most likely to occur.
| Y | Yes
| N | No
BLANK: Transient public water systems can leave this field blank.
Stage 2 DBPR | Stage 2 Sampling Locations are required for all Community and Non-Transient Non-Community Public Water Systems that uses a primary or residual disinfectant other than ultraviolet light or delivers water that has been treated with a primary or residual disinfectant other than ultraviolet light. These sampling locations represent areas where high TTHM and HAA5 concentrations may be anticipated and must be approved by the Department.
| Y | Yes
| N | No
BLANK: Public water systems not subject to the Stage 2 DBPR can leave this field blank.