notice to contractor - ALL-Inclusive Drainage

Added sections:

2.86 – Drainage Trench EXcavation

Rock in Drainage Trench Excavation

5.86 – Catch basins, manholes and drop inlets

6.86 – Drainage pipes

Drainage Pipe Ends

This Contract contains the above-noted Special Provisions for all-inclusive drainage, developed to replace the following Sections in their entireties:

- Section 5.07 – Catch Basins, Manholes and Drop Inlets

- Section 6.51 – Culverts

- Section 6.52 – Culvert Ends

The Section 5.86 and 6.86 items include excavation and bedding material in the drainage structure, pipe and pipe end unit prices.

Section 2.05 Trench Excavation may be included for miscellaneous trenching, where necessary, but will not be used with all-inclusive drainage items.

Other Standard Specifications, Supplemental Specifications or Special Provisions may contain references to Articles or Subarticles from previous versions of Sections 5.07, 6.51 and 6.52 which are no longer valid.

The following Standard Specifications Sections or Supplements contain references to Articles or Subarticles from Section 2.05 which shall remain in effect:

- Section 2.06 – Ditch Excavation

- Section 5.06 – Retaining Walls, Endwalls and Steps

- Section 7.51 – Underdrains and Outlets

- Section 10.01 – Trenching and Backfilling

‘Rock in Drainage Trench Excavation’ is now defined in Section 2.86.  ‘Rock in Trench Excavation’ will remain in Section 2.05 and may be used with trenching not associated with

all-inclusive drainage items.

Any references to Articles beginning with “5.07,” “6.51,” or “6.52” shall refer to the pertinent topic or materials in the new Special Provisions contained herein.