NOTICE TO CONTRACTOR - PORTLAND CEMENT CONCRETE (PCC) MIX CLASSIFICATIONS

***SECTIONS 6.01 and M.03 MIX CLASSIFICATION EQUIVALENCY***

Sections 6.01 *Concrete for Structures* and M.03 *Portland Cement Concrete* are herein revised to reflect changes to item names and nomenclature for standard Portland Cement Concrete (PCC) mix classifications. Other Special Provisions, standard specifications, plan sheets and select pay items in this Contract may not reflect this change. Refer to the Concrete Mix Classification Equivalency Table below to associate the Concrete Mix Classifications with Former Mix Classifications that may be present elsewhere in the Contract.

**Concrete Mix Classification Equivalency Table**

|  |  |
| --- | --- |
| New Mix Classification  (Class PCCXXXYZ1) | Former Mix Classification |
| Class PCC03340 | Class “A” |
| Class PCC03360 | Class “C” |
| Class PCC044602 | Class “F” |
| Class PCC044622 | High Performance Concrete |
| Class PCC04481, PCC05581 | Class “S” |

Table Notes:

1. See Table M.03.02-1, Standard Portland Cement Concrete Mixes, for the new Mix Classification naming convention.
2. Class PCC04462 (low permeability concrete) is to be used for the following cast-in-place bridge components: decks, bridge sidewalks, and bridge parapets.

Where called for in the Contract, **Low Permeability Concrete** shall be used, as specified in Sections 6.01 and M.03. Please pay special attention to the requirements for Class PCC04462, including:

* Submittal of a mix design developed by the Contractor and a concrete supplier **at least 90 days prior to placing the concrete**
* Testing and trial placement of the concrete mix to be developed and discussed with the Department

The Department will not consider any requests for change to eliminate the use of Low Permeability Concrete on this Project.