ITEM #0601651A - RETAINING WALL  (Site No.  1)

ITEM #0601652A - RETAINING WALL  (SITE NO.  2)

ITEM #0601653A - RETAINING WALL  (SITE NO.  3)

ITEM #0601654A - RETAINING WALL  (SITE NO.  4)

ITEM #0601655A - RETAINING WALL  (SITE NO.  5)

ITEM #0601656A - RETAINING WALL  (SITE NO.  6)

ITEM #0601657A - RETAINING WALL  (SITE NO.  7)

ITEM #0601658A - RETAINING WALL  (SITE NO.  8)

ITEM #0601659A - RETAINING WALL  (SITE NO.  9)

ITEM #0601660A - RETAINING WALL  (SITE NO.  10)

ITEM #0601661A - RETAINING WALL  (SITE NO.  11)

ITEM #0601662A - RETAINING WALL  (SITE NO.  12)

ITEM #0601663A - RETAINING WALL  (SITE NO.  13)

ITEM #0601664A - RETAINING WALL  (SITE NO.  14)

ITEM #0601665A - RETAINING WALL  (SITE NO.  15)

ITEM #0601666A - RETAINING WALL  (SITE NO.  16)

ITEM #0601667A - RETAINING WALL  (SITE NO.  17)

ITEM #0601668A - RETAINING WALL  (SITE NO.  18)

ITEM #0601669A - RETAINING WALL  (SITE NO.  19)

ITEM #0601670A - RETAINING WALL  (SITE NO.  20)

ITEM #0601671A - RETAINING WALL  (SITE NO.  21)

ITEM #0601672A - RETAINING WALL  (SITE NO.  22)

ITEM #0601673A - RETAINING WALL  (SITE NO.  23)

ITEM #0601674A - RETAINING WALL  (SITE NO.  24)

ITEM #0601675A - RETAINING WALL  (SITE NO.  25)

ITEM #0601676A - RETAINING WALL  (SITE NO.  26)

ITEM #0601677A - RETAINING WALL  (SITE NO.  27)

ITEM #0601678A - RETAINING WALL  (SITE NO.  28)

ITEM #0601679A - RETAINING WALL  (SITE NO.  29)

ITEM #0601680A - RETAINING WALL  (SITE NO.  30)

Description:  This item will consist of designing, furnishing and constructing a retaining wall in the location, grades, and to the dimensions and details shown on the contract drawings, and in accordance with these specifications.

Retaining Wall  Selection:  The wall chosen shall be selected from the list shown on the contract drawings.  The contract drawings may detail a cast-in-place reinforced concrete retaining wall.  This type of retaining wall may also be used as an option.  The Engineer will reject any proposed retaining wall that is not listed on the contract drawings.

The list on the contract drawings is for all proprietary retaining walls that are appropriate for each site.  This list does not warrant that the walls can be designed to meet either the dimensional, structural, or geotechnical constraints at each site.

The following is a list of the Department's current approved proprietary retaining walls, no other proprietary retaining walls will be allowed:

NOTE:  SEE THE CONTRACT DRAWINGS FOR THE SPECIFIC WALLS THAT ARE ACCEPTABLE FOR EACH SITE.

Prefabricated Modular Walls

| 1. Doublewal-Standard Module Doublewal 173 Church Street Yalesville, CT 06492 (203) 269-3119 | 2. T-Wall Retaining Wall System The Neel Company 8328-D Traford Lane Springfield, VA 22152 (703) 913-7858 |
| --- | --- |

Mechanically Stabilized Earth (MSE) Walls

| 1. Reinforced Earth Walls The Reinforced Earth Company 133 Park Street North Reading, MA 01864 (978) 664-2830 | 2. Retained Earth The Reinforced Earth Company 1372 Oldbridge Road, Suite 101 Woodbridge, VA 22192 (703) 499-9818 |
| --- | --- |

Design:  Design computations are not required for the cast-in-place wall detailed on the contract drawings except for any temporary earth retaining systems included in the lump sum item.  The Contractor shall submit working drawings and design computations for temporary earth retaining systems in accordance with Article 7.14.03.

1 - Design Computations:  If the Contractor chooses one of the proprietary wall options, he is fully responsible for the design, detailing and additional specifications required.  The actual designer of the retaining wall shall be a qualified Professional Engineer licensed in the State of Connecticut.  The designer must have designed at least three proprietary walls within the last three years.

2 - Designer's Liability Insurance:  The Designer of the proprietary retaining wall shall secure and maintain at no direct cost to the Department, a Professional Liability Insurance Policy for errors and omissions in the minimum amount of One Million Dollars ($1,000,000).  The Designer may, at his election, obtain a policy containing a maximum Two Hundred Fifty Thousand Dollars ($250,000) deductible clause, but if he should obtain a policy containing such a clause, the Designer shall be liable to the extent of the deductible amount.  The Designer shall obtain the appropriate and proper endorsement to its Professional Liability Policy to cover the indemnification clause in this contract as the same relates to negligent acts, errors or omissions in the work performed by the Designer.  The Designer shall continue this liability insurance coverage for a period of three years from the date of the acceptance of the work by the agency head as evidenced by a certificate of acceptance issued to the contractor or for three years after the termination of the contract, whichever is earlier, subject to the continued commercial availability of such insurance.

The Designer shall supply the certificate of this insurance to the Engineer prior to the start of construction of the wall.  The designer’s insurance company shall be licensed in the State of Connecticut.

3 - Preliminary Submissions for Proprietary Retaining Walls:  Prior to the start of fabrication or construction, the Contractor shall submit to the Engineer a design package, which shall include, but not be limited to the following:

a.  Detailed Plans:

- Plan sheets shall be approximately 24" x 36".

- Stamped by a licensed Professional Engineer (Connecticut).

- Full plan view of the wall drawn to scale.  The plan view must reflect the horizontal alignment and offset from the horizontal control line to the face of the wall.  Beginning and ending stations, all utilities, signs, lights, etc. that affect the construction along with all property lines and easement lines adjacent to the wall shall be shown.

- Full elevation view of the wall drawn to scale.  Elevation views should indicate the elevation at the top and bottom of walls, horizontal and vertical break points, and the location of finished grade.

- Typical cross sections drawn to scale including all appurtenances.  Detailed cross section should be provided at significant reinforcement transitions such as wall ends.

- Details of all wall components and their connections such as the length, size and type of reinforcement and where any changes occur; modular component and facing details including reinforcing steel and reinforcement connections; joint material including geotextile filter location and horizontal joint compression material, etc.

- Drainage details for embankment backfill including attachment to outlets shown on contract drawings.

- Details of any roadway drainage pipe projecting through the wall, or any attachments to the wall.  Details of the treatment of drainage swales or ditches shown on the contract drawings.

- Design parameters used along with AASHTO references.

- Material designations for all materials to be used.

- Detailed construction methods including a quality control plan.  Construction quality control plans should include monitoring and testing frequencies (e,g, for setting batter and maintaining horizontal and vertical control).  Construction restraints should also be listed in the details.  Specific requirements for construction around obstructions should be included.

- Details of parapet attachments where required along with any lighting and/or signing requirements.

- Details of Architectural Treatment where required.

- Details of Temporary Earth Retaining Systems where required.

- Details of wall treatment where the wall abuts other structures.

- Treatment at underground utilities where required.

b.  Design Computations:

- Stamped by a licensed Professional Engineer (Connecticut).

- Computations shall clearly refer to the applicable AASHTO provisions as stated in the Notes on the Contract Drawings.

- Documentation of computer programs including all design parameters.

- The design shall conform to the criteria listed below.

c.  Construction Specifications:

- Construction methods specific to the proprietary retaining wall chosen.  These specifications should include construction limitations including vertical clearance, right-of-way limits, etc.  Submittal requirements for materials such as certification, quality, and acceptance/rejection criteria should be included.  Details on connection of modular units and connection of reinforcements such that assurance of uniform stress transfer should be included.

- Any requirements not stated herein.

The submissions for proprietary retaining walls shall be treated as working drawings in accordance with Section 1.05 amended as follows:

a.  6 sets of each submission shall be supplied to the Department

b.  The Contractor shall allow 21 days for the review of each submission.  If subsequent submissions are required as a result of the review process, 21 days shall be allowed for review of each submission.  No extensions in contract time will be allowed for the review of these submissions.

4 - Final Submissions for Proprietary Retaining Walls:

Once a proprietary retaining wall design has been reviewed and accepted by the Department, the Contractor shall submit the final plans.  The final submission shall include one set of full size (approximately 24" x 36") mylar sheets and five sets of full size blue line copies.

The final submission shall be made within 14 days of acceptance by the Department.  No work shall be performed on the retaining wall until the final submission has been received.

Acceptance of the final design shall not relieve the Contractor of his responsibility under the contract for the successful completion of the work.

The actual designer of the proprietary retaining wall is responsible for the review of any shop drawings prepared for the fabrication of the wall.  One set of full size blue line copies of all approved shop drawings shall be submitted to the Department's permanent records.

5 – General Design Requirements

a.  All designs for proprietary walls and temporary earth retaining systems (if required) shall conform to the latest edition of the American Association of State Highway and Transportation Officials (AASHTO) Standard Specifications for Highway Bridges including the latest Interims published except as noted otherwise herein.

b.  The wall design shall follow the dimensions of the wall envelope shown in the contract drawings.

For all proprietary walls, the top of the leveling pad or reinforced concrete toe footing shall be located at or below the bottom of the footing elevation shown on the contract drawings.  If no footing elevation is shown, the minimum wall embedment shall be four feet as measured to the top of the leveling pad or toe footing.

If steps at the bottom of the wall are required, they shall be kept at or below the footing elevation shown on the contract drawings.  Steps in addition to those shown on the contract drawings will be permitted at no additional cost to the Department.

c.  The wall shall be designed to be within all property lines and easement lines shown on the contract drawings.  If additional work areas are necessary for the construction of the proprietary retaining wall, the Contractor shall be responsible for obtaining the rights from the affected property owners.  Copies of these rights shall be forwarded to the Department.

d.  The top of the wall shall be at the top of the wall elevations shown on the contract drawings.  Where coping or barrier is utilized, the wall face panel shall extend up into the coping or barrier a minimum of two inches.  The top of the face panels may be level or sloped to meet the top of the wall line noted.

e.  Cast-in-place concrete will not be an acceptable replacement for areas noted by the wall envelope, except for minor grouting of pipe penetrations and leveling required for coping or traffic barrier.

f.  The wall shall be designed for a minimum live load surcharge equal to two feet of soil at a unit weight of 125 pounds per cubic foot.  If there are specific live load surcharges acting on the wall, they shall also be accounted for.  The minimum equivalent fluid pressure used to design the wall shall be 33 pounds per cubic foot per linear foot of wall.

g.  If stated on the contract drawings, the wall shall be designed for seismic forces according to the AASHTO Specifications.

h.  If the wall is detailed with a concrete parapet, the top two courses of prefabricated modular walls units shall be designed to support a transverse railing load of 10 kips.  The 10 kip load may be distributed over the length of the parapet section between joints, but not exceeding 20 feet.  Computations that verify the stability of the top two courses of the modular units shall be submitted to the Engineer.

The detailing and reinforcement in the parapet section above the gutterline or finished grade, including any light standard attachments, shall be as shown on the contract drawings.

i. The wall shall be designed to accommodate all roadway drainage and drainage structures as shown on the contract drawings.

j. The maximum allowable bearing pressure of the soil shall be as shown on the contract drawings.  The bearing pressure stated assumes a uniform pressure distribution.  If additional soils information is required by the Contractor’s designer, it must be obtained by the Contractor and will not be reimbursed by the Department.

k. Parapet and Moment slab Design:

- General requirement for parapet and moment slab design:

The parapet and moment slab shall be designed in accordance the AASHTO Standard LRFD Bridge Design Specifications – 2007, including the latest interim specifications and errata, amended as follows:

The parapet shall be designed and constructed of precast or cast-in-place concrete.  The moment slab shall be designed and constructed of cast-in-place reinforced concrete.

Above the finished grade, the parapet dimensions, concrete and reinforcement shall conform to the Department’s retaining wall parapet details.  Below the finished grade, the parapet shall be designed to resist the forces specified in Table A13.2-1 of the AASHTO LRFD Bridge Design Specifications for the parapet types indicated below:

| Parapet Type | AASHTO LRFD Test Level |
| --- | --- |
| 42” High Standard Parapet | TL-4 |
| 32” High Standard Parapet | TL-3 |
| Sidewalk Parapet | TL-3 |

The moment slab and its connection to the parapet shall be designed to resist, at a minimum, a transverse load equal to 133% of Ft.   The length of the structural connection between parapet and moment slab assumed to resist transverse force Ft shall be the distance between parapet joints but not greater than 30 feet in any case.  The length of the moment slab assumed to resist sliding and overturning may exceed parapet joint spacing but shall be no greater than 30 feet in any case.  The moments shall be summed about the front face of the wall facing.  All resistance factors shall be taken as 1.0.  The internal angle of friction for the soil shall be assumed to be 34 degrees unless otherwise shown on the contract plans.

Minimum concrete cover for reinforcing steel shall be 2 inches for top bars and 3 inches for bottom bars

- Precast Concrete Parapet Alternative:

Precast parapet sections shall be no less than 8 feet in length.

Parapets shall include details for shear transfer between adjacent units by either concrete shear keys or steel dowels as follows:

  - Shear keys when used shall be monolithically cast in each parapet section or joint location.  Shear keys shall be located vertically within the top 32 inches of the parapet and shall be a minimum of 24 inches in length with a tapered width between 3 and 4 inches, and a minimum interlock depth of 2 inches.

  - Steel dowels when used shall be a minimum of 3 in number, smooth, 14 inches long minimum, and 1 inch diameter at each parapet interface.  Steel dowels shall be located in each parapet joint and spaced approximately 1 foot apart vertically.  Steel dowels shall be positioned to project equally into each adjoining parapet sections and shall be detailed to avoid impeding shrinkage and thermal movements.  Bond breakers may be used with steel dowels for that purpose. Alternatively, pockets may be cast to receive steel dowels in adjacent parapet units.  Pocket widths shall not exceed steel dowel diameters by more than ½ inch.

Moment slabs for precast concrete parapets shall be structurally continuous throughout the overall wall length. Construction joints are permitted in moment slabs.

- Cast-in-Place Parapet Alternative:

The minimum distance between parapet joints shall be 20 feet.  Expansion and contraction joints shall be placed in accordance with Section 11.6 of the AASHTO LRFD Bridge Design specifications. Expansion and contraction joints shall be located a minimum of 10 feet from the nearest edge of a catch basin.    Expansion and contraction joints shall be located a minimum of 6 feet from the centerline of light standard anchorages and junction boxes.  Preformed expansion joint filler, ½ inch thick, shall be installed at the expansion joints in the parapet.

Parapets shall include details for shear transfer between sections by way of concrete shear keys or steel dowels as follows:

  - Shear keys when used shall be monolithically cast in each parapet section or joint location.  Shear keys shall be located vertically within the top 32 inches of the parapet and shall be a minimum of 24 inches in length with a tapered width between 3 and 4 inches, and a minimum interlock depth of 2 inches.

  - Steel dowels when used shall be a minimum of 3 in number, smooth, 14 inches long minimum, and 1 inch diameter at each parapet interface.  Steel dowels shall be located in each parapet joint and spaced approximately 1 foot apart vertically.  Steel dowels shall be positioned to project equally into each adjoining parapet sections and shall be detailed to avoid impeding shrinkage and thermal movements.  A bond breaker shall be used with steel dowels for that purpose.

Moment slabs for cast-in-place parapets shall extend to the outside face of the retaining wall as shown on the plans. Moment slabs for cast-in-place parapets shall be structurally continuous throughout the overall wall length except at parapet contraction and expansion joint locations where longitudinal reinforcing within 2 feet of the wall face shall be discontinuous for the purpose of crack control.  All remaining longitudinal reinforcing in moment slabs at parapet expansion and contraction joint locations shall be continuous. A vertical 1” deep chamfer on the exposed face of the moment should be provided in locations directly under parapet expansion and contraction joints. Construction joints are permitted in moment slabs for cast-in-place concrete.

6 - Design Requirements for Mechanically Stabilized Earth Walls:  The design shall consider the internal stability of the wall mass as outlined below.  The global stability of the structure, including slope stability, bearing capacity safety, and total and differential settlement is the responsibility of the Department.

a.  Hydrostatic Forces:  Unless specified otherwise, when a design high water surface is shown on the contract drawings at the face of the wall, the design stresses calculated from that elevation to the bottom of wall must include a three foot minimum differential head of saturated backfill.  In addition, the buoyant weight of saturated soil shall be used in the calculation of pullout resistance.

b.  Backfill:  The friction angle of the pervious structure backfill used in the reinforced fill zone for the internal stability design of the wall shall be assumed to be 34 degrees unless shown otherwise on the contract drawings.  The friction angle of the in-situ soils shall be assumed to be a maximum of 30 degrees unless otherwise shown on the Contract drawings.

c.  Soil Reinforcement:  The soil reinforcement shall be the same length from the bottom to the top of each wall section.  The reinforcement length defining the width of the entire reinforced soil mass may vary with wall height along the length of wall.  The minimum length of the soil reinforcement shall be seventy percent of the wall height, H, or eight feet, whichever is greater.

The soil reinforcement length shall be sufficient to satisfy the sliding, overturning and pullout factors of safety designated in AASHTO Specifications and the minimum lengths required for external stability as recommended by the Department.  Calculation of stresses and pullout factors of safety shall be in accordance with the AASHTO Specifications for Highway Bridges.

Calculations for stresses and factors of safety shall be based on assumed conditions at the end of the design life.  The design life shall be 75 years unless otherwise indicated on the contract drawings.  The design of soil reinforcements shall account for section loss as outlined in the AASHTO Specifications.  All soil reinforcement shall be hot dipped galvanized.

7 - Design Requirements for Prefabricated Modular Walls:  The general design of the wall shall be according to the AASHTO Specifications.  The design shall consider the stability at each level of modules.  The global stability of the structure, including slope stability, bearing capacity safety, and total and differential settlement is the responsibility of the Department.

a.  Hydrostatic Forces:  Unless specified otherwise, when a design high water surface is shown on the contract drawings at the face of the wall, the design stresses calculated from that elevation to the bottom of wall must include a three foot minimum differential head of saturated backfill.  In addition, the buoyant weight of saturated soil shall be used in the calculation of pullout resistance.

b.  Backfill:  The friction angle of the pervious structure backfill shall be assumed to be 34 degrees if sufficient amounts of pervious backfill are used.  The friction angle of the in-situ soils shall be assumed to be a maximum of 30 degrees unless otherwise shown on the Contract drawings.

c.  Infill:  The maximum assumed unit weight of infill material used for determining the factor of safety for overturning shall be 100 pounds per cubic foot.  If Doublewal modules are to be filled with crushed stone, the maximum assumed unit weight of the infill shall be 80 pounds per cubic foot.

d.  Safety Factors:	The minimum factors of safety shall be as specified in the AASHTO Specifications amended as follows.  The factor of safety for T-Wall shall be 1.5 for pullout of the concrete stem.  Shear keys are not to be included in these computations.  Only resisting forces developed beyond the theoretical failure plane may be used in these computations.

Materials:

1 - Cast-in Place Concrete Walls:  The materials furnished and used in the work shall be those prescribed within the  Standard Specifications for Roads, Bridges and Incidental Construction, including supplemental specifications and applicable special provisions.

2 - Prefabricated Modular and Mechanically Stabilized Earth Walls:  Materials shall conform to the following requirements and those not listed below shall be as prescribed within the Standard Specifications for Roads, Bridges and Incidental Construction, including supplemental specifications and applicable special provisions.

a.  Concrete:  The concrete shall conform to the requirements of Section M.03 and as follows:

Concrete for all precast components shall be air-entrained composed of portland cement, fine and coarse aggregates, admixtures and water.  The air-entraining feature may be obtained by the use of either air-entraining portland cement or an approved air-entraining admixture.  The entrained-air content shall be not less than four percent or more than seven percent.  The concrete utilized shall be a mix which will attain a minimum 28-day strength (f 'c ) of 4,500 pounds per square inch.  The mix design shall be furnished to the Engineer.

Concrete for footings or unreinforced leveling pads shall be conform to the requirements of Class "A" Concrete.  Class "F" Concrete shall be used for cast-in-place concrete copings.

Concrete Finish:  Unless otherwise indicated on the contract drawings or elsewhere in the specifications, the concrete surface for the exposed face shall have an ordinary steel form finish.  All non-exposed surfaces shall have a unformed finish which shall be free of open pockets of aggregate and surface distortions in excess of 1/4 inch.

Acceptance Criteria for Precast Components:  Precast components shall be accepted for use in wall construction provided the concrete strength meets or exceeds the minimum compressive strength requirement, the soil reinforcement connection devices and the panel or module dimensions are within the manufacture's allowable tolerances and any chipping, cracks, honeycomb or other defects are within acceptable standards for precast concrete or repaired as determined by the Engineer.

It is recognized that certain cracks and surface defects are not detrimental to the structural integrity of the precast components if properly repaired.  The Engineer shall determine the need for and proper method of such repair.  All repairs shall be approved by the Engineer prior to acceptance of the precast component for use in wall construction.

Marking:  The date of manufacture, the production lot number, and the piece-mark shall be clearly marked on the side of each panel or module.

b.  Reinforcing Steel:  Reinforcing steel shall conform to the requirements of ASTM A615, Grade 60.

c.  Attachment Devices for Prefabricated Modular Walls:  All structural connectors shall be hot dipped galvanized according to the requirements of ASTM A123 (AASHTO M-111).  The minimum thickness of the galvanizing shall be based on the service life requirements in the AASHTO Specifications.

d.  Soil Reinforcing and Attachment Devices for MSE Walls:

Soil Reinforcement:  All soil reinforcement and structural connectors shall be hot dipped galvanized according to the requirements of ASTM A123 (AASHTO M-111).  The minimum thickness of the galvanizing shall be based on the service life requirements as previously stated.

Steel strip reinforcement shall be hot rolled to the required shape and dimensions.  The steel shall conform to AASHTO M223 (ASTM A572) Grade 65 unless otherwise specified.

Welded wire fabric reinforcement shall be shop fabricated from cold-drawn wire of the sizes and spacings shown on the plans.  The wire shall conform to the requirements of ASTM A82, fabricated fabric shall conform to the requirements of ASTM A185.

Connection Hardware:  Connection hardware shall conform to the details on the plans and the requirements in the special provisions or the plans.  All fasteners shall be galvanized according to the requirements of ASTM A-153 (AASHTO M-232).  The minimum thickness of the galvanizing shall be based on the service life requirements as previously stated.

e.  Joint Materials:  All horizontal and vertical joints between panels shall be covered by a geotextile (separation-high survivability) conforming to the requirements of Article M.08.02-26.  The minimum width and lap shall be twelve inches.  Details of installation including connection of the geotextile to coping shall be provided.

f.  Backfill:  Backfill shall be pervious structure backfill conforming to the requirements of Articles M.02.05 and M.02.06.

In addition, the backfill for Mechanically Stabilized Earth Walls shall conform to all of the following requirements:

Electrochemical Requirements:  The backfill material shall conform to the following electrochemical requirements:

| PROPERTY | REQUIREMENT | TEST METHODS |
| --- | --- | --- |
| Resistivity at 100% saturation | Minimum 3000 ohm-cm | ASTM G-57-78 AASHTO T-288-91I |
| pH | Acceptable Range 5-10 | ASTM G-51-77 AASHTO T-289-91I |
| Chlorides | Maximum 100 ppm | ASTM D-512-88 AASHTO T-291-91I |
| Sulfates | Maximum 200 ppm | ASTM D-516-88 AASHTO T-290-91I |

g.  Smooth Steel dowels :  Steel dowels used in parapets joints shall conform to the requirements of ASTM A36 and shall be galvanized in conformance with the requirements of ASTM A153.

Construction Methods:

1 - Cast-in-Place Concrete Walls:  All construction methods for cast-in-place retaining walls shall be in accordance with the detailed requirements prescribed for the construction the appropriate items as specified in the Standard Specifications for Roads, Bridges, and Incidental Construction.

2 - Prefabricated Modular Walls:  All construction methods for items not listed below shall be in accordance with the detailed requirements prescribed for the construction of the appropriate items as specified in the Standard Specifications for Roads, Bridges, and Incidental Construction.

a.  Special Surface Treatment:  If a special surface finish is proposed for the wall, before proceeding with production, a model modular unit shall be provided by the fabricator for the Engineer's approval to establish a guide and standard for the type of finish to be furnished on the exposed face.  This model shall be kept at the fabricator's plant to be used for comparison purposes during production.  Formed surfaces other than the exposed face shall not require a special finish.

b.  Inspection and Rejection:  The quality of materials, the process of manufacture, and the finished units shall be subject to inspection by the Engineer prior to shipment.

Modular units which have imperfect molding, honeycomb, open texture concrete, or broken corners shall be repaired to the satisfaction of the Engineer or shall be rejected.  Insufficient compressive strength shall also be cause for rejection.

Modular units with special surface treatments shall be rejected if there are variations in the exposed face that deviate from the approved model as to color or texture in accordance with precast concrete industry standards.

c.  Marking:  The date of manufacture shall be clearly scribed on an inside surface of each modular unit.

d.  On Site Representative:  A qualified and experienced representative from the wall supplier shall be at the site at the initiation of the wall construction to assist the Contractor and the Engineer.  If there is no more than one wall on a project then this criteria will apply to construction of the initial wall only.  The representative shall also be available on as needed basis, as requested by the Engineer.

e.  Installation: The modular units shall be installed in accordance with manufacturer's recommendations.  Special care shall be taken in setting the bottom course of units to true line and grade.

The vertical joint opening on the front face of the wall shall not exceed 3/4 inch.  Vertical tolerances and horizontal alignment tolerances measured from the face line shown on the contract drawings shall not exceed 3/4 inch when measured along an eight straightedge.  The overall tolerance of the wall from top to bottom shall not exceed 1/2 inch per eight feet of wall height or one inch total, whichever is the lesser, measured from the face line shown on the contract drawings.  A strip of geotextile shall be installed at all vertical joints.

Assembly of the various components shall be performed in such a manner that no undue strain or stress is placed on any of the members that constitute the completed structure.

f.  Backfilling:

Doublewal:

Infill for modular units shall be placed, one course at a time, in lifts not exceeding two feet in thickness.  The dry density of each lift of pervious structure backfill placed inside the modular units, after compaction, shall not be less than 90 percent of the dry density for that material when tested in accordance with AASHTO T-180, Method D.  Each lift shall be thoroughly compacted with a vibratory tamping device.

Placement of the pervious structure backfill behind the wall shall closely follow erection of successive courses of modular units.  At no time shall the difference in backfill elevation between the interior and exterior of the wall exceed six feet.

The units may be backfilled with crushed stone, provided that the design of the wall was based on a density of 80 pounds per cubic foot.

All pervious structure backfill placed outside of the modular units shall be placed in accordance with the requirements of Article 2.16.03.

T-Wall:

Backfill placement shall closely follow erection of each course of modules.  Backfill shall be placed in such a manner as to avoid any damage or disturbance to the wall materials or misalignment of the modules.  Any wall materials which become damaged or disturbed during backfill placement shall be either removed and replaced at the Contractor's expense or corrected, as directed by the Engineer.  Any backfill material placed within the wall envelope which does not meet the requirements of this specification shall be corrected or removed and replaced at the Contractor's expense.

Backfill shall be compacted to 95 percent of the maximum density as determined by AASHTO T-99, Method C or D (with oversize correction, as outlined in Note 7).

The moisture content of the backfill material prior to and during compaction shall be uniform throughout each layer.  Backfill material shall have a placement moisture content less than or equal to the optimum moisture content.  Backfill material with a placement moisture content in excess of the optimum moisture content shall be removed and reworked until the moisture content is uniform and acceptable throughout the entire lift.  The optimum moisture content shall be determined in accordance with AASHTO T-99, Method C or D (with oversize correction, as outlined in Note 7).

If 30 percent or more of the backfill material is greater than 3/4 inch in size, AASHTO T-99 is not applicable.  For such a material, the acceptance criterion for control of compaction shall be either a minimum of 70 percent of the relative density of the material as determined by a method specification provided by the wall supplier, based on a test compaction section, which defines the type of equipment, lift thickness, number of passes of the specified equipment, and placement moisture content.

The maximum lift thickness after compaction shall not exceed ten inches.  The Contractor shall decrease this lift thickness, if necessary, to obtain the specified density.

Compaction within three feet of the face of the modules shall be achieved by at least three passes of a lightweight mechanical tamper, roller or vibratory system.  The specified lift thickness shall be adjusted as warranted by the type of compaction equipment actually used. Care shall be exercised in the compaction process to avoid misalignment or damage to the module  Heavy compaction equipment shall not be used to compact backfill within three feet of the wall face.

At the end of each day's operation, the Contractor shall slope the last level of backfill away from the wall facing to direct runoff of rainwater away from the wall face.  The Contractor shall control and divert runoff at the ends of the wall such that erosion or washout of the wall section does not occur.  In addition, the Contractor shall not allow surface runoff from adjacent areas to enter the wall construction site.

3 - Mechanically Stabilized Earth Walls:  All construction methods for items not listed below shall be in accordance with the detailed requirements prescribed for the construction of the appropriate items as specified in the Standard Specifications for Roads, Bridges, and Incidental Construction.

a.  Special Surface Treatment:  If a special surface finish is proposed for the wall, before proceeding with production, a model face panel shall be provided by the fabricator for the Engineer's approval to establish a guide and standard for the type of finish to be furnished on the exposed face.  This model shall be kept at the fabricator's plant to be used for comparison purposes during production.  Formed surfaces other than the exposed face shall not require a special finish.

b.  Foundation Preparation:  The foundation for the structure shall be graded level for a width equal to or exceeding the length of the soil reinforcements, or as shown on the plans.  Prior to wall construction, the foundation, if not in rock, shall be compacted.  Any foundation soils found to be unsuitable shall be removed and replaced with granular fill.

At each panel foundation level, an un-reinforced concrete leveling pad shall be provided as shown on the plans.  The leveling pad shall be cast to the design elevations as shown on the plans.

c.  On Site Representative:  A qualified and experienced representative from the wall supplier shall be at the site at the initiation of the wall construction to assist the Contractor and the Engineer.  If there is no more than one wall on a project then this criteria will apply to construction of the initial wall only.  The representative shall also be available on as needed basis, as requested by the Engineer.

d.  Wall Erection:  Panels shall be placed in successive horizontal lifts in the sequence shown on the plans as backfill placement proceeds.  As backfill material is placed behind the panels, the panels shall be maintained in a vertical position.  Vertical tolerances (plumbness) and horizontal alignment tolerances shall not exceed 3/4 inch in eight feet.  The allowable offset in any panel joint shall be 3/4 inch.  The overall vertical tolerance of the wall (plumbness from top to bottom) shall not exceed 1/2 inch per eight feet, or one inch total, which ever is the lesser, measured from the face line shown on the plans.

e.  Placement of Reinforcements: Bending of reinforcements in the horizontal plane that results in a permanent deformation in their alignment shall not be allowed.  Gradual bending in the vertical direction that does not result in permanent deformations is allowable.

Connection of reinforcements to piles or bending of reinforcements around piles shall not be allowed.  A structural connection (yoke) from the wall panel to the reinforcement shall be used whenever it is necessary to avoid cutting or excessive skewing of reinforcements due to pile or utility conflicts.

Soil reinforcements shall be placed normal to the face of the wall, unless otherwise shown on the plans.

f.  Backfill Placement:  Backfill placement shall closely follow erection of each course of panels.  Backfill shall be placed in such a manner as to avoid any damage or disturbance to the wall materials or misalignment of the facing panels.  Any wall materials which become damaged or disturbed during backfill placement shall be either removed and replaced at the Contractor's expense or corrected, as directed by the Engineer.  Any backfill material placed within the reinforced soil mass which does not meet the requirements of this specification shall be corrected or removed and replaced at the Contractor's expense.

Backfill shall be compacted to 95 percent of the maximum density as determined by AASHTO T-99, Method C or D (with oversize correction, as outlined in Note 7).

The moisture content of the backfill material prior to and during compaction shall be uniform throughout each layer.  Backfill material shall have a placement moisture content less than or equal to the optimum moisture content.  Backfill material with a placement moisture content in excess of the optimum moisture content shall be removed and reworked until the moisture content is uniform and acceptable throughout the entire lift.  The optimum moisture content shall be determined in accordance with AASHTO T-99, Method C or D (with oversize correction, as outlined in Note 7).

If 30 percent or more of the backfill material is greater than 3/4 inch in size, AASHTO T-99 is not applicable.  For such a material, the acceptance criterion for control of compaction shall be either a minimum of 70 percent of the relative density of the material as determined by a method specification provided by the wall supplier, based on a test compaction section, which defines the type of equipment, lift thickness, number of passes of the specified equipment, and placement moisture content.

The maximum lift thickness after compaction shall not exceed ten inches, regardless of the vertical spacing between layers of soil reinforcements.  The Contractor shall decrease this lift thickness, if necessary, to obtain the specified density.  Prior to placement of the soil reinforcements, the backfill elevation at the face shall be level with the connection after compaction.  From a point approximately three feet behind the back face of the panels to the free end of the soil reinforcements the backfill shall be two inches above the attachment device elevation unless otherwise shown on the plans.

Compaction within three feet of the back face of the panels shall be achieved by at least three passes of a lightweight mechanical tamper, roller or vibratory system.  The specified lift thickness shall be adjusted as warranted by the type of compaction equipment actually used. Care shall be exercised in the compaction process to avoid misalignment of the panels or damage to the attachment devices.  Heavy compaction equipment shall not be used to compact backfill within three feet of the wall face.

At the end of each day's operation, the Contractor shall slope the last level of backfill away from the wall facing to direct runoff of rainwater away from the wall face.  The Contractor shall control and divert runoff at the ends of the wall such that erosion or washout of the wall section does not occur.  In addition, the Contractor shall not allow surface runoff from adjacent areas to enter the wall construction site.

Method of Measurement:  This work will be paid for on a lump sum basis and will not be measured for payment.

Basis of Payment:  This work will be paid for at the contract lump sum for “RETAINING WALL (SITE NO. X)“, complete in place, which price shall include all work shown within the pay limits shown on the contract drawings for the retaining wall including but not limited to the following:

- Design and construction of the proprietary retaining wall.

- Excavation required for the construction of the retaining wall.

- Design and construction of temporary earth retaining systems to retain the existing facilities during construction.

- The furnishing, placing and compacting of pervious structure backfill within the payment lines.

- The furnishing and placing of backfill drainage systems for the wall.

- The furnishing and placing of rigid metal conduit, junction boxes, light standard anchorages, and other electrical appurtenances located within the wall proper.

- Services of the On-Site Representative.

- Any other work and materials shown on the plans for the retaining wall.

The price shall also include all materials, equipment, tools and labor incidental thereto.

If bedrock or boulders in excess of one cubic yard are encountered in the excavation, it shall be paid for under the item "Structure Excavation - Rock".