ITEM #1003912A - REMOVE CONCRETE LIGHT STANDARD BASE

DESCRIPTION: Under this item the contractor shall remove an existing concrete light standard base where shown on the plans or as directed. The removed concrete base shall remain the property of the contractor.

CONSTRUCTION METHODS: The contractor shall remove a concrete light standard base where indicated on the plans or as directed by the Engineer.  The removed base shall be properly disposed of by the contractor. The resulting excavation shall be backfilled, top soiled, graded and seeded to match surroundings in conformance with Section M.13, unless otherwise noted on the plans.

METHOD OF MEASUREMENT: This work will be measured for payment by the number of concrete light standard bases removed and disposed of, complete and accepted.

BASIS OF PAYMENT: This work will be paid for at the contract unit price each for "Remove Concrete Light Standard Base", which price shall include all materials, equipment and work incidental thereto including removal of base, excavation, backfill, topsoil, grading, seeding, fertilizing, hauling and disposing of concrete base.