ITEM  #1003917A - REMOVE WOOD POLE

DESCRIPTION:  Under this item the Contractor shall remove an existing wood pole with aerial cable as indicated on the plans or as directed by the Engineer. The wood pole, aerial cable, and associated hardware shall be disposed of by the Contractor.

CONSTRUCTION METHODS: The Contractor shall remove a wood pole, with aerial cable and associated hardware where indicated on the plans or as directed by the Engineer. The removed materials shall be properly disposed of by the Contractor.

The resulting excavation shall be properly backfilled and seeded to match the surrounding grade.

METHOD OF MEASUREMENT: This work will be measured for payment by the number of wood poles with associated equipment removed and disposed of, complete and accepted.

BASIS OF PAYMENT: This work will be paid for at the contract unit price each for "Remove Wood Pole" complete, which price shall include removal of wood pole, aerial cable, and associated equipment, disposing, hauling, backfilling, seeding, and all materials, equipment, tools and labor incidental thereto.