ITEM # 1700001A – SERVICE CONNECTIONS (ESTIMATED COST)

Description:  This work shall consist of disconnection, alteration and reconnection of those existing utility services owned by property owners at locations necessary to complete this project and as ordered by the Engineer.  This work shall include the coordination with the affected utility companies and customers.  Any damage caused by the Contractor or Subcontractors, as determined by the Engineer, shall be corrected by the Contractor in accordance with this specification.

Materials:  All materials shall be provided by the Contractor and shall meet the current standards of the affected service.

Construction Methods:  The Contractor shall perform all work in coordination with the Utility Company and affected property owner and as directed by the Engineer.  Certain work may require use of a licensed and/or certified tradesman when such work is required by local and/or state codes.

Any utility customer's service interruption shall be done in a way that minimizes adverse impacts to the customer and affected utility.

Any work and materials supplied by the utility companies shall be on a billable basis to the Contractor.

Method of Measurement:  The work and materials shall be measured for payment as provided for under Article 1.04.05 Extra Work.

The sum of money shown on the estimate and in the itemized proposal as "Estimated Cost" for this work will be considered the price bid even though payment will be made only for actual work performed.  The estimated cost figure is not to be altered in any manner by the bidder.  Should the bidder alter the amount shown, the altered figure will be disregarded and the original price will be used to determine the total amount for the contract.

Corrective work required to repair damage caused by the Contractor or its Subcontractors shall not be measured for payment.

Basis of Payment:  This work will be paid as Extra Work.

Pay Item							Pay Unit

Service Connections (Estimated Cost)			Estimated Cost